## Customer Load Sheet
Preliminary Information for Permanent Electric Service
The following information must be provided as soon as it is known. Processing, approval and acquisition of transformers and equipment may require multiple months before service can be energized.
| Return to: | Central Maine Power Company |  |  |  | Date of EDET | 2023-02-21
| Attention: | Advisor | Jamie Cough
|  | Tel# | 2076291489
|  | Fax# | 2076294982
|  | Email Address | jamie.cough@cmpco.com
I | GENERAL INFORMATION:
| SERVICE ADDRESS: |  | City/Town: |  |  | Service Center:
| Project Name | EV Charger Host
| Business Agreement # |  | SIC Code |  | Revenue Class | 421 | Commercial
| SAP Notification |  | Billing Partner |  | Customer Rate | Rate 300 MGS Secondary | 21-400 KW
| CUSTOMER NAME | Curt Dugal
| Phone Number | Office: |  | Cell: |  | Other:
ELEC. CONTRACTOR
| Phone Number | Office: |  | Cell: |  | Other:
OTHER CONTACT
| BLDG. USED FOR |  |  |  |  | SQ.FT. | 1000
II | SERVICE INFORMATION:
| Service-New or Upgrade? | New
| SITE LAYOUT: | Attached: |  | WILL FOLLOW: |  | x
| Date Service Required: | Temporary: |  | PERMANENT: |  | 2023-08-20
| ENTRANCE SWITCH: | Voltage Required | 1Ph. 120/240v | AMPS | 400 | WIRE | 4
|  | Voltage | 240 | PHASE | 1
TYPE OF SERVICE:
| TRANSFORMER: | Type | Overhead XFMR | Overhead or Underground secondaries | Underground
| METERING REQUIRED: | Metering Type (Pri/Sec) | Secondary | Meter Type and Location | Self Contained | Meter Installed By: | Service Center
| NO. OF METERS | 1 | Note if multiple metering, indicate largest meter (eg 400 amp)
| No. Of Apartments if applicable | 0 | Note the number of apartments if a mulit unit apartment building | Other Comments on Metering (including # of End Users if applicable or Meter Location Adjustment)
NEW CONNECTED LOADS:
| Enter Load Type-Use drop down in each cell | New Connected Load KW | NEC Projected KW if Available | amps | volts | hrs/week | Comments
Residential Loads | Receptacles
Lighting
Generation
Cooking Loads
Heating - Water
Miscellaneous/Other Not Specified
Miscellaneous/Other Not Specified
Miscellaneous/Other Not Specified
| Subtotal Apartments-Non Heat | 0 | 0 |  |  |  | SUBTOTAL APT-NON Heat
A/C
Heating/Heat Pumps
| Subtotal Apartments-Heat and A/C | 0 | 0 |  |  |  | SUBTOTAL APT-HEAT
| Total Residential Loads | 0 | 0 |  |  |  | TOTAL RESIDENTIAL LOADS |  | Calculators
Commercial Loads | Generation | [9 empty] | Power Factor | 0.95
| Motor Loads General Purpose | [7 empty] | 3 Ph Amps | Amps | KWD | Voltage
| Spec. Equipt (Welding/X-Ray/Elevators etc) | [8 empty] | 633.0781 | 500 | 480
| Laundry | [7 empty] | 3 Ph KVA | KWD | AMPS | Voltage
| Heating - Water | [7 empty] | 1153.9277 | 1096.2313 | 1388 | 480
| Heating including Heat Pumps | [7 empty] | 3 Ph KVA | KWD
| A/C | [7 empty] | 1214.7368 | 1154
| Lighting | [7 empty] | 3 Ph KVA | KW | HP
| Lighting | [7 empty] | 19.6316 | 18.65 | 25
Miscellaneous/Other Not Specified
| Miscellaneous/Other Not Specified | [9 empty] | PF | 0.95
| Miscellaneous/Other Not Specified | [7 empty] | 1 PH | AMPS | KWD | Voltage
| Miscellaneous/Other Not Specified | [8 empty] | 100 | 11.4 | 120
| Miscellaneous/Other Not Specified | [7 empty] | 1 Ph KVA | kw | Voltage | AMPS
| Future Loads | [7 empty] | 12.6316 | 11.4 | 120 | 100
Future Loads
| Total Commercial and Common | 0 | 0 |  |  | 0 | Total Commercial and Common |  | 1 Ph KVA | KW | HP
| Total New Connected Load | 0 | 0 | [5 empty] | 19.6316 | 18.65 | 25
Completed by
Brief Description of Project or Additional Comments
Note: When adding/changing these lists, make sure you sort by the first column as these drive the lookup functions
| Load Type | Diversification-Default | Weeks per Yr for KWH Calcs |  | Advisor List
| A/C | 75% | 16 |  | Advisor | Tel | Fax | Email
| Computer | 75% | 52 |  | Dan Begin | 2076294517 | 2072428123 | Daniel.Begin@cmpco.com
| Cooking Loads | 40% | 52 |  | Jamie Cough | 2076291489 | 2076294982 | jamie.cough@cmpco.com
| Future Loads | 80% | 52 |  | Jeff Lagueux | 2076294552 | 2076294925 | jeffrey.lagueux@cmpco.com
| Generation | 100% | 52 |  | Paul Duperre | 2076291487 | 2078282812 | paul.duperre@cmpco.com
| Heating - Water | 60% | 52 |  | Van Hobgood | 2076292537 | 2076292541 | van.hobgood@cmpco.com
| Heating including Heat Pumps | 75% | 36
| Laundry | 50% | 52 |  | Rate Code | Rate Description | Service Type
| Lighting | 100% | 52 |  | Rate 210 SGS | 1 - 20 KW | New
| Miscellaneous/Other Not Specified | 50% | 52 |  | Rate 220 SGS TOU | 1 - 20 KW | Upgrade
| Motor Loads Continuous | 100% | 52 |  | Rate 300 MGS Secondary | 21-400 KW | Relocation
| Motor Loads General Purpose | 30% | 52 |  | Rate 310 MGS Secondary | 21-400 KW
| Motor Loads Semi Continuous | 50% | 52 |  | Rate 320 MGS Secondary TOU | 21-400 KW | # Conductors
| Receptacles | 10% | 52 |  | Rate 340 MGS Primary | 21-400 KW | 3
| Refrigeration | 50% | 52 |  | Rate 360 MGS PrimayTOU | 21-400 KW | 4
| Spec. Equipt (Welding/X-Ray/Elevators etc) | 30% | 52 |  | Rate 430 LGS S TOU | 1001 KW+
| Use for Spacing Only | 0% | 52 |  | Rate 470 LGS P TOU | 1001 KW+
[5 empty] | Rate 480 LGS ST TOU | 1001 KW+
| Revenue Class | Revenue Class Description |  |  | Rate 530 IGS S TOU | 401-1000 kw
| 421 | Commercial |  |  | Rate 550 IGS P TOU | 401-1000 kw
| 422 | Industrial
[5 empty] | Meter Type | Meter Installed By: | Metering Type
| Voltage Choice | Voltage | Phase |  | Both CTs and Self Contained | Service Center and Division Meter | Primary
| 1Ph. 120/208v Network | 208 | 1 |  | CTs in Cabinet | Division Meter | Secondary
| 1Ph. 120/240v | 240 | 1 |  | CTs in Pad | Division Meter
| 1Ph. 120v | 120 | 1 |  | CTs in Switchgear | Division Meter
| 1Ph. 277v | 277 | 1 |  | Primary Metering | Division Meter
| 1Ph. 480v | 480 | 1 |  | Self Contained | Service Center
| 3Ph. 120/208v | 208 | 3
| 3Ph. 120/240v Delta | 240 | 3 |  | Transformer Type | Secondary Location
| 3Ph. 12470v | 12470 | 3 |  | Padmount XFMR | Overhead
| 3Ph. 277/480v | 480 | 3 |  | Overhead XFMR | Underground
| 3Ph. 34500v | 34500 | 3 |  | Vault or Network XFMR
| 3Ph. 480v | 480 | 3
Service Centers
Alfred
Augusta
Belfast
Bridgton
Brunswick
Dover
Fairfield
Farmington
Lewiston
Portland
Rockland
Skowhegan

## ESA
NEW CONNECTED LOADS: | [8 empty] | PROJECTED LOADS:
Enter Load Type-Use drop down in each cell | New Connected Load KW | NEC Projected KW if Available | amps | volts | hrs/week | weeks/yr | Comments | Default Diversification Value for Load Type | Diversification Factor (note corporate defaults are loaded) | KW New Diversified | KVA Diversified NEW | KWHrs/Yr Added | Multi Unit Diversity Factor |  | AC Loads KW | Heat Loads KW
Receptacles | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 10% | 10% | 0 | 0 | 0 | Not Applicable |  | 0 | 0
Lighting | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 100% | 100% | 0 | 0 | 0 | 1 |  | 0 | 0
Generation | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 100% | 100% | 0 | 0 | 0 | APTs |  | 0 | 0
Cooking Loads | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 40% | 40% | 0 | 0 | 0 | 0 |  | 0 | 0
Heating - Water | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 60% | 60% | 0 | 0 | 0 |  |  | 0 | 0
Miscellaneous/Other Not Specified | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 |  |  | 0 | 0
Miscellaneous/Other Not Specified | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 50% | 50% | 0 | 0 | 0 |  |  | 0 | 0
Miscellaneous/Other Not Specified | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 50% | 50% | 0 | 0 | 0 |  |  | 0 | 0
Subtotal Apartments-Non Heat | 0 | 0 | 0 | 0 | 0 |  | SUBTOTAL APT-NON Heat |  | Subtotal Apartments-Non Heat | 0 | 0 | 0 |  |  | 0 | 0
A/C | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 75% | 75% | 0 | 0 | 0 |  |  | 0 | 0
Heating/Heat Pumps | 0 | 0 | 0 | 0 | 0 | 36 | 0 | 75% | 75% | 0 | 0 | 0 |  |  | 0 | 0
Subtotal Apartments-Heat and A/C | 0 | 0 | 0 | 0 | 0 |  | SUBTOTAL APT-HEAT |  | Subtotal Apartments-Heat and A/C | 0 | 0 | 0 |  |  | 0 | 0
Total Residential Loads | 0 | 0 | 0 | 0 | 0 |  | TOTAL RESIDENTIAL LOADS |  | TOTAL RESIDENTIAL LOADS | 0 | 0 | 0 | Apt/Res Load Amps | 0
Generation | 0 | 0 | 0 | 0 | 0 | 52 |  | 100% | 100% | 0 | 0 | 0 |  |  | 0 | 0
Motor Loads General Purpose | 0 | 0 | 0 | 0 | 0 | 52 |  | 30% | 30% | 0 | 0 | 0 |  |  | 0 | 0
Spec. Equipt (Welding/X-Ray/Elevators etc) | 0 | 0 | 0 | 0 | 0 | 52 |  | 30% | 30% | 0 | 0 | 0 |  |  | 0 | 0
Laundry | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 |  |  | 0 | 0
Heating - Water | 0 | 0 | 0 | 0 | 0 | 36 |  | 60% | 60% | 0 | 0 | 0 |  |  | 0 | 0
Heating including Heat Pumps | 0 | 0 | 0 | 0 | 0 | 52 |  | 75% | 75% | 0 | 0 | 0 |  |  | 0 | 0
A/C | 0 | 0 | 0 | 0 | 0 | 16 |  | 75% | 75% | 0 | 0 | 0 |  |  | 0 | 0
Lighting | 0 | 0 | 0 | 0 | 0 | 52 |  | 100% | 100% | 0 | 0 | 0 |  |  | 0 | 0
Lighting | 0 | 0 | 0 | 0 | 0 | 52 |  | 100% | 100% | 0 | 0 | 0 |  |  | 0 | 0
Miscellaneous/Other Not Specified | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 |  |  | 0 | 0
Miscellaneous/Other Not Specified | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 |  |  | 0 | 0
Miscellaneous/Other Not Specified | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 |  |  | 0 | 0
Miscellaneous/Other Not Specified | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 |  |  | 0 | 0
Miscellaneous/Other Not Specified | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 |  |  | 0 | 0
Future Loads | 0 | 0 | 0 | 0 | 0 | 52 |  | 80% | 80% | 0 | 0 | 0 |  |  | 0 | 0
Future Loads | 0 | 0 | 0 | 0 | 0 | 52 |  | 80% | 80% | 0 | 0 | 0 |  |  | 0 | 0
Total Commercial and Common | 0 | 0 | 0 | 0 | 0 |  | Total Commercial and Common |  | Subtotal Commercial and Common | 0 | 0 | 0 | Commercial Load Amps | 0 | 0 | 0
Total New Connected Load | 0 | 0 | 0 | 0 |  |  |  |  | Total Projected NEW Loads taking only Peak A/C or Peak Heat | 0 | 0 | Voltage | 240 |  | 0 | 0
SPECIAL NOTE: IF RED-check your WEEKS/YR column | [8 empty] | Existing KW Demand from THIS Customer to be included with upgrade | 0 | 0 | Phase | 1 | % Amps on Main
Completed by | [8 empty] | Expected Demand on This Transformer from THIS customer | 0 | 0 | Expected AMPS from this customer load | 0 | 0%
Brief Description of Project or Additional Comments |  | #REF! | #REF! | #REF! | #REF! |  | #REF! |  | Additional KW load from OTHER customers served from this transformer | 0 | 0 | Project Power Factor | 0.95
Additional Comments by ESA | [8 empty] | Total KVA Load on this Transformer | 0 | 0 | Watts/SqFt | 0
[9 empty] | Expected KWH/YR NEW Commercial | 0 |  | Estimated KWH cost incl demand | 0.14
[9 empty] | Estimated NEW annual Revenues Commercial | 0 |  | Deposit (2 Month Basis)-Commerical only | 0
[9 empty] | Expected KWH/YR NEW Residential | 0
[9 empty] | Estimated NEW annual Revenues Residential | 0
Multiple Unit Diversity | Diversification
10-14 Units | 63%
15-19 Units | 53%
20-24 Units | 49%
2-4 Units | 100%
25-29 Units | 46%
30-34 Units | 44%
35-39 Units | 42%
40-49 Units | 41%
50+ Units | 40%
5-9 Units | 78%
Not Applicable | 100%
Note on L2: NOTE Yellow is Default-changes to RED when NOT the corporate default
Note on Q15: NOTE this is the total RESIDENTIAL Amps, and if multiple meters it does not reflect just the CT loads
Note on Q32: NOTE this is the total Commercial Amps, and if multiple meters it does not reflect just the CT loads
Note on P35: NOTE this is the total load, and if multiple meters it does not reflect just the CT loads

## Transmission-Distribution Plan
ESA | CUSTOMER NAME: | Curt Dugal
| Business Agreement # | 0 |  | SAP Notification |  | 0
| SERVICE ADDRESS: | 0
| Billing Partner: | 0
| Phone Number: | Office: | 0 | Cell: |  | Other:
ELEC. CONTRACTOR:
| OTHER CONTACT: | 0
| BLDG. USED FOR: | 0 |  |  |  | SQ.FT. | 1000
Engineering | SERVICE: | New/Upgrade/Relocation | New | SERVICE TYPE: | Secondary | PHASE | 1
| MAIN DISCONNECT: | Volts: | 240 | Disconnect AMPS | 400 | WIRE | 4
| Primary Line Construction | Overhead
| Existing TRANSFORMER Type | None | POLE/PAD #:
| INSTALL TRANSFORMER: | Overhead XFMR
| Install Transformer Size | 150
| # TRANSFORMERS: | 1 | # SERVICES FROM XFMR | 1
Pole or Pad #:
Circuit:
Substation:
| Power Factor | 0.95 | Default is from ESA Tab | Is Full Reduncancy of Service Rquired? | No
Metering | METERING REQUIRED: | Self Contained | Total NO. OF METERS |  | 1 | SIC Code
| METERING INSTALLED BY: | Service Center | Comments |  | Revenue Class | 421 | Customer Rate | Rate 300 MGS Secondary | 21-400 KW
| METER TYPE | kWh | x | kW | x | kVARD |  | Self Contained or CT Metered? | Self Contained
| CT LOCATION: | Self Contained | Comments |  | Other Comments on Metering (including # of End Users if applicable or Meter Location Adjustment)
| METER LOAD on the CTs (AMPS) | 0 | NOTE-default is the calculated amps for the total load-if mulitple meters you will need to back out the amps and put in just the CT Amps
III | LOAD DATA Summary | From Customer | From ESA | From ESA
| Enter Load Type-Use drop down in each cell | New Connected Load KW | KW New Diversified | KVA Diversified NEW
Residential Loads | Receptacles | 0 | 0 | 0
0 | Lighting | 0 | 0 | 0
0 | Generation | 0 | 0 | 0
0 | Cooking Loads | 0 | 0 | 0
0 | Heating - Water | 0 | 0 | 0
0 | Miscellaneous/Other Not Specified | 0 | 0 | 0
0 | Miscellaneous/Other Not Specified | 0 | 0 | 0
0 | Miscellaneous/Other Not Specified | 0 | 0 | 0
0 | Subtotal Apartments-Non Heat | 0 | 0 | 0
0 | A/C | 0 | 0 | 0
0 | Heating/Heat Pumps | 0 | 0 | 0
0 | Subtotal Apartments-Heat and A/C | 0 | 0 | 0
Commercial Loads | Generation | 0 | 0 | 0
0 | Motor Loads General Purpose | 0 | 0 | 0
0 | Spec. Equipt (Welding/X-Ray/Elevators etc) | 0 | 0 | 0
0 | Laundry | 0 | 0 | 0
0 | Heating - Water | 0 | 0 | 0
0 | Heating including Heat Pumps | 0 | 0 | 0
0 | A/C | 0 | 0 | 0
0 | Lighting | 0 | 0 | 0
0 | Lighting | 0 | 0 | 0
0 | Miscellaneous/Other Not Specified | 0 | 0 | 0
0 | Miscellaneous/Other Not Specified | 0 | 0 | 0
0 | Miscellaneous/Other Not Specified | 0 | 0 | 0
0 | Miscellaneous/Other Not Specified | 0 | 0 | 0
0 | Miscellaneous/Other Not Specified | 0 | 0 | 0
0 | Future Loads | 0 | 0 | 0
0 | Future Loads | 0 | 0 | 0
| Total Commercial and Common | 0 | 0 | 0
| Total New Connected Load | 0 | 0 | 0
| Existing Demand from THIS Customer to be added to the Transformer Load |  |  | 0 | KVA
| Existing Demand from Other Customers served by the Transformer |  |  | 0 | KVA
| Total Expected Demand on This Transformer |  |  | 0 | KVA
|  | # of Units | KVA | Transformer Descriptoin | OLD CMP Stock Code | Transformer CU | Transformer Notes:
| Transformer | 1 | 300 | PADXMR 3P 300K 12GY/7.2 208Y/120P F NT E | D866243E | U3TD3JFAPFE | Comments on Transformer if not a standard pick
NOTE: To add Transformers to this list you must:
1. Add to the appropriate information to the CMP Transformer Inventory (Beginning in Cell B79). Make sure to use the same formatting and language as well as change the Ranges for each range in line 80. (Go into Name Manager to expand the Range-it looks for the name range-the third column of each transformer set on Row 79) Sortbyname
2. Add to the section-"CMP Transformer Inventory Sorted Alphabetically…." beginning Cell A105. Once you have added to the list, then SORT by Column A (use drop down). Save, check, then Protect Sheet.
xfmr300 | CMP Transformer Inventory
xfmr | xfmr10 |  | name | xfmr25 |  | name | xfmr50 |  | name | xfmr75 |  | name | xfmr100 |  | name | xfmr112.5 |  | name | xfmr150 |  | name | xfmr167 |  | name | xfmr300 |  | name | xfmr500 |  | name | xfmr750 |  | name | xfmr1000 |  | name | xfmr1500 |  | name | xfmr2000 |  | name | xfmr2500 |  | name | xfmr5000 |  | name | xfmr7500 |  | name
10 | U3XD1FZBCE | D74380010E | OHXMR 1P 10K 34GY/19.9, 120/240C E | U3XD1HMHCE | D860869E | OHXMR 1P 25K 12.4GRDY/7.2 277 CON E EF | U3XD1JUHCE | D861270E | OHXMR 1P 50K 12.4/7.2 277 CON E EF | Other | Other | Other | U3XD1LUHCE | D861670E | OHXMR 1P 100K 12.4G/7.2 277 CON E EF | Other | Other | Other | U3TD3GFAPFE | D866043E | PADXMR 3P 150K 12GY/7.2 208Y/120P F NT E | U3XD1NUHCE | D862070E | OHXMR 1P 167K 12.4/7.2 277 CON E EF | U3TD3JFAPFE | D866243E | PADXMR 3P 300K 12GY/7.2 208Y/120P F NT E | U3VD3KFBCE | D869342E | NETXMR 3P 500K 11.5 216Y/125 CON E EF | U3VD3LFBCE | D869442E | NETXMR 3P 750K 11.5 216Y/125 CON E EF | U3VD3MFGCE | D869546E | NETXMR 3P 1000K 11.5 480Y/277 CON E EF | U3VD3NEGCE | D869646E | NETXMR 3P 1500K 11.5-480Y/277 CON E E | U3TD3PFGCLE | D866747E | PADXMR 3P 2000K 12.4 480Y/277 C LF E E | U3TD3QFGPFE | D866848E | PADXMR 3P 2500K 12.4 480Y/277 PRO FT E E | U3TD3RKLCRE | D866988E | PADXMR 3P 5000K 34 12.4/7.2 DF RAD E E | U3TD3SKLRSE | D867010E | PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E
25 | U3XD1FMBCE | D448109E | OHXMR 1P 10K 7.2/12.4Y 120/240 CON E EF | U3XD1HZBCE | D860961E | OHXMR 1P 25K 34.5/19.9 120/240 CON E EF | U3XD1JZBCTE | D861362E | OHXMR 1P 50K 34.5/19.9 120/240 CON E EF |  |  |  | U3XD1LZBCE | D861762E | OHXMR 1P 100K 34.5/19.9 120/240 CON E EF |  |  |  | U3TD3GLACFE | D866084E | PADXMR 3P 150K 34.5Y/19.9 208Y/120C FT E | U3XD1NZBCE | D862162E | OHXMR 1P 167K 34.5GRDY/19.9-120/240 C E | U3TD3JFGPLE | D866247E | PADXMR 3P 300K 12GY/7.2 480Y/277P F NT E | U3TD3KGACFE | D866344E | PADXMR 3P 500K 12.4 208Y/120 PRO FT E EF | U3VD3LEGCE | D869446E | NETXMR 3P 750K 11.5-480Y/277 CON E EF | U3TD3MGGCFE | D866548E | PADXMR 3P 1000K 12.4 480Y/277PRO FT E | U3TD3NFFGLE | D866647E | PADXMR 3P 1500K 12.4 480Y/277CON FT E EF | U3TD3PKGCLE | D866787E | PADXMR 3P 2000K 34.5 480Y/277C LF E E | U3TD3QKGCLE | D866886E | PADXMR 3P 2500K 34.5,480Y/277 CON LF E | Other | Other | Other | Other | Other | Other
50 | Other | Other | Other | U3XD1HZDCE | D860965E | OHXMR 1P 25K 34.5GRDY/19.9 139/277C E EF | U3XD1JZDCE | D861366E | OHXMR 1P 50K 34.5Y/19.9 139/277CON E EF |  |  |  | U3XD1LZDE | D861766E | OHXMR 1P 100K 34.5Y/19.9 139 X 277C E EF |  |  |  | U3TD3GFGPFE | D866047E | PXDXMR 3P 150K 12GY/7.2 480Y/277P F NT E | U3XD1NMBCE | D448117E | OHXMR 1P 167K 7.2/12.4Y 120/240C E EF | U3TD3JLGCE | D866288E | PADXMR 3P 300K 34.5GY/19.9 480Y/277C E | U3TD3KGFCFE | D866348E | PADXMR 3P 500K 12.4 480/277PRO FT E EF | U3WD3LGGCFE | D868458E | SUBXMR 3P 750K 12.4 480Y/277PRO FT E E | U3TD3MGACFE | D866544E | PADXMR 3P 1000K 12GRDY 208Y/120P FT E | U3TD3NKGCLE | D866687E | PADXMR 3P 1500K 34.5 480Y/277CON LF E EF | Other | Other | Other | Other | Other | Other
75 |  |  |  | U3XD1HMBCE | D448257E | OHXMR 1P 25K 7.2/12.4Y 120/240 CON E EF | U3XD1JMBCTE | D448508E | OHXMR 1P 50K 7.2/12.4Y 120/240 CON E EF |  |  |  | U3XD1LMBCE | D448010E | OHXMR 1P 100K 7.2/12.4Y 120/240CON E EF |  |  |  | Other | Other | Other | U3XD1NZDC | D862166 | OHXMR, 167K, 34.5/19.9, 138.5 X 277, CON | U3TD3JLACFE | D866284E | PADXMR 3P 300K 34.5Y/19.9 208Y/120C FT E | U3TD3KMGCFE | D866388E | PADXMR 3P 500K 34.5/19.9 480Y/277C FT E | U3WD3LFAPFE | D868454E | SUBXMR, 750K, 12.4, 208Y/120, CON, FT E EF | U3TD3MKGCLE | D866587E | PADXMR 3P 1000K 34.5 480Y/277 CON LF E E | Other | Other | Other
100 |  |  |  | Other | Other | Other | Other | Other | Other |  |  |  | Other | Other | Other | [6 empty] | U3TD1NUECFE | D865553E | PADXMR 1P 167K 12.4/7.2 240/120P FT E EF | U3WD3JGAPFE | D868254E | SUBXMR 3P 300K 12.4 208Y/120 PRO FT E | U3TD3KLACLE | D866384E | PADXMR 3P 500K 34.5GY/19. 208Y/120C LF E | Other | Other | Other | U3TD3MLACF | D866584 | PADXMR, 1000K, 34.5, 208Y/120, PRO, FT
112.5 | [21 empty] | Other | Other | Other | Other | Other | Other | U3WD3KGAPFE | D868354E | SUBXMR 3P 500K 12.4 208Y/120 PRO FT E EF |  |  |  | U3WD3MGACFE | D868554E | SUBXMR 3P 1000K 12.4 208Y/120 P FT E EF
150 | [27 empty] | U3WD3KGGC | D869168 | SUBXMR, 500K, 12.4, 480Y/277, CON |  |  |  | U3WD3MFGPFE | D868558E | SUBXMR 3P 1000K 12.4 TO 480Y/277 P FT E
167 | [27 empty] | Other | Other | Other |  |  |  | Other | Other | Other
300
500
750
1000
1500
2000
2500
5000
7500
Transformer Type | Line Construction
None | Overhead
Overhead | Underground
Padmount | Underground Network
Vault
Submersible
Network
Description | CU | OLD CMP | KVA
NETXMR 3P 1000K 11.5 480Y/277 CON E EF | U3VD3MFGCE | D869546E | 1000
NETXMR 3P 1500K 11.5-480Y/277 CON E E | U3VD3NEGCE | D869646E | 1500
NETXMR 3P 500K 11.5 216Y/125 CON E EF | U3VD3KFBCE | D869342E | 500
NETXMR 3P 750K 11.5 216Y/125 CON E EF | U3VD3LFBCE | D869442E | 750
NETXMR 3P 750K 11.5-480Y/277 CON E EF | U3VD3LEGCE | D869446E | 750
OHXMR 1P 100K 12.4G/7.2 277 CON E EF | U3XD1LUHCE | D861670E | 100
OHXMR 1P 100K 34.5/19.9 120/240 CON E EF | U3XD1LZBCE | D861762E | 100
OHXMR 1P 100K 34.5Y/19.9 139 X 277C E EF | U3XD1LZDE | D861766E | 100
OHXMR 1P 100K 7.2/12.4Y 120/240CON E EF | U3XD1LMBCE | D448010E | 100
OHXMR 1P 10K 34GY/19.9, 120/240C E | U3XD1FZBCE | D74380010E | 10
OHXMR 1P 10K 7.2/12.4Y 120/240 CON E EF | U3XD1FMBCE | D448109E | 10
OHXMR 1P 167K 12.4/7.2 277 CON E EF | U3XD1NUHCE | D862070E | 167
OHXMR 1P 167K 34.5GRDY/19.9-120/240 C E | U3XD1NZBCE | D862162E | 167
OHXMR 1P 167K 7.2/12.4Y 120/240C E EF | U3XD1NMBCE | D448117E | 167
OHXMR 1P 25K 12.4GRDY/7.2 277 CON E EF | U3XD1HMHCE | D860869E | 25
OHXMR 1P 25K 34.5/19.9 120/240 CON E EF | U3XD1HZBCE | D860961E | 25
OHXMR 1P 25K 34.5GRDY/19.9 139/277C E EF | U3XD1HZDCE | D860965E | 25
OHXMR 1P 25K 7.2/12.4Y 120/240 CON E EF | U3XD1HMBCE | D448257E | 25
OHXMR 1P 50K 12.4/7.2 277 CON E EF | U3XD1JUHCE | D861270E | 50
OHXMR 1P 50K 34.5/19.9 120/240 CON E EF | U3XD1JZBCTE | D861362E | 50
OHXMR 1P 50K 34.5Y/19.9 139/277CON E EF | U3XD1JZDCE | D861366E | 50
OHXMR 1P 50K 7.2/12.4Y 120/240 CON E EF | U3XD1JMBCTE | D448508E | 50
OHXMR, 167K, 34.5/19.9, 138.5 X 277, CON | U3XD1NZDC | D862166 | 167
Other | Other | Other | Other
PADXMR 1P 167K 12.4/7.2 240/120P FT E EF | U3TD1NUECF | D865553 | 167
PADXMR 3P 1000K 12.4 480Y/277PRO FT E | U3TD3MGGCFE | D866548E | 1000
PADXMR 3P 1000K 12GRDY 208Y/120P FT E | U3TD3MGACFE | D866544E | 1000
PADXMR 3P 1000K 34.5 480Y/277 CON LF E E | U3TD3MKGCLE | D866587E | 1000
PADXMR 3P 1500K 12.4 480Y/277CON FT E EF | U3TD3NFFGLE | D866647E | 1500
PADXMR 3P 1500K 34.5 480Y/277CON LF E EF | U3TD3NKGCLE | D866687E | 1500
PADXMR 3P 150K 12GY/7.2 208Y/120P F NT E | U3TD3GFAPFE | D866043E | 150
PADXMR 3P 150K 34.5Y/19.9 208Y/120C FT E | U3TD3GLACFE | D866084E | 150
PADXMR 3P 2000K 12.4 480Y/277 C LF E E | U3TD3PFGCLE | D866747E | 2000
PADXMR 3P 2000K 34.5 480Y/277C LF E E | U3TD3PKGCLE | D866787E | 2000
PADXMR 3P 2500K 12.4 480Y/277 PRO FT E E | U3TD3QFGPFE | D866848E | 2500
PADXMR 3P 2500K 12.4 TO 480Y/277C LF E E | U3TD3QFGCLE | D866847E | 2500
PADXMR 3P 2500K 34.5,480Y/277 CON LF E | U3TD3QKGCLE | D866886E | 2500
PADXMR 3P 2500K 34.5,480Y/277 CON LF E | U3TD3QKGCLE | D866886E | 2500
PADXMR 3P 300K 12GY/7.2 208Y/120P F NT E | U3TD3JFAPFE | D866243E | 300
PADXMR 3P 300K 12GY/7.2 208Y/120P F NT E | U3TD3JFAPFE | D866243E | 300
PADXMR 3P 300K 12GY/7.2 480Y/277P F NT E | U3TD3JFGPLE | D866247E | 300
PADXMR 3P 300K 12GY/7.2 480Y/277P F NT E | U3TD3JFGPLE | D866247E | 300
PADXMR 3P 300K 34.5GY/19.9 480Y/277C E | U3TD3JLGCE | D866288E | 300
PADXMR 3P 300K 34.5GY/19.9 480Y/277C E | U3TD3JLGCE | D866288E | 300
PADXMR 3P 300K 34.5Y/19.9 208Y/120C FT E | U3TD3JLACFE | D866284E | 300
PADXMR 3P 5000K 34 12.4/7.2 DF RAD E E | U3TD3RKLCRE | D866988E | 5000
PADXMR 3P 5000K,34.5,12.4/7.2,DF,RAD | U3TD3RKLCR | D866988 | 5000
PADXMR 3P 500K 12.4 208Y/120 PRO FT E EF | U3TD3KGACFE | D866344E | 500
PADXMR 3P 500K 12.4 208Y/120 PRO FT E EF | U3TD3KGACFE | D866344E | 500
PADXMR 3P 500K 12.4 480/277PRO FT E EF | U3TD3KGFCFE | D866348E | 500
PADXMR 3P 500K 12.4 480/277PRO FT E EF | U3TD3KGFCFE | D866348E | 500
PADXMR 3P 500K 34.5/19.9 480Y/277C FT E | U3TD3KMGCFE | D866388E | 500
PADXMR 3P 500K 34.5/19.9 480Y/277C FT E | U3TD3KMGCFE | D866388E | 500
PADXMR 3P 500K 34.5GY/19. 208Y/120C LF E | U3TD3KLACLE | D866384E | 500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D867010E | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D868354 | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D868354E | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D868454 | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D868558 | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D868558E | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D869646 | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D869646E | 7500
PADXMR 3P 75K 12GY/7.2 208Y/120P FT NT E | U3TD3EFAPFE | D865843E | 75
PADXMR 3P 75K 12GY/7.2 480Y/277P FT NT E | U3TD3EFGPFE | D865847E | 75
PADXMR, 1000K, 34.5, 208Y/120, PRO, FT | U3TD3MLACF | D866584 | 1000
PXDXMR 3P 150K 12GY/7.2 480Y/277P F NT E | U3TD3GFGPFE | D866047E | 150
SUBXMR 3P 1000K 12.4 208Y/120 P FT E EF | U3WD3MGACFE | D868554E | 1000
SUBXMR 3P 1000K 12.4 TO 480Y/277 P FT E | U3WD3MFGPFE | D868558E | 1000
SUBXMR 3P 300K 12.4 208Y/120 PRO FT E | U3WD3JGAPFE | D868254E | 300
SUBXMR 3P 500K 12.4 208Y/120 PRO FT E EF | U3WD3KGAPFE | D868354E | 500
SUBXMR 3P 750K 12.4 480Y/277PRO FT E E | U3WD3LGGCFE | D868458E | 750
SUBXMR, 1000K, 12.4, 208Y/120, FT | U3WD3MGACF | D868554 | 1000
SUBXMR, 1000K, 12.4, 480Y/277, FT | U3WD3MGGCF | D868558 | 1000
SUBXMR, 500K, 12.4, 480Y/277, CON | U3WD3KGGC | D869168 | 500
SUBXMR, 750K, 12.4, 208Y/120, CON, FT | U3WD3LGACF | D868454 | 750
SUBXMR, 750K, 12.4, 208Y/120, CON, FT E EF | U3WD3LFAPFE | D868454E | 750
SUBXMR, 750K, 12.4, 480Y/277, CON, FT | U3WD3LGGCF | D868458 | 750

## Metering
ESA | CUSTOMER NAME: | Curt Dugal
| Business Agreement # | 0 |  | SAP Notification |  | 0
| SERVICE ADDRESS: | 0
| Billing Partner: | 0
| Phone Number: | Office: | 0 | Cell: |  | Other:
ELEC. CONTRACTOR:
| Phone Number: | Office: | 0 | Cell: | 0 | Other: | 0
| BLDG. USED FOR: | 0 |  |  |  | SQ.FT. | 1000
| SERVICE: | New Upgrade or Relocation | New |  | SERVICE TYPE: | Secondary
| MAIN DISCONNECT: | Volts: | 240 | Disconnect AMPS | 400 | PHASE | 1 | WIRE | 4
Metering | METERING REQUIRED: | Self Contained | Total NO. OF METERS |  | 1 | SIC Code
| METERING INSTALLED BY: | Service Center | Comments |  | Revenue Class | 421 | Customer Rate | Rate 300 MGS Secondary | 21-400 KW
| METER TYPE | kWh | x | kW | x | kVARD
| CT LOCATION: | Self Contained | Comments |  | Other Comments on Metering (including # of End Users if applicable or Meter Location Adjustment)
| METER LOAD on the CTs (AMPS) | 0 | NOTE-default is the calculated amps for the total load-if mulitple meters you will need to back out the amps and put in just the CT Amps
| Existing Demand from THIS Customer to be added to the Transformer Load |  |  | 0 | KVA
| Existing Demand from Other Customers served by the Transformer |  |  | 0 | KVA
| Total Expected Demand on This Transformer |  |  | 0 | KVA | AMPs | 0

## Deposit Calculator
DEPOSIT CALCULATOR
Account | 0
Customer Rate | Rate 300 MGS Secondary
Expected Demand | 0 | From ESA
Expected New KWH | 0 | From ESA
Total
Demand/Kw | 12.35 | $/kw | 0
Rate/KWH | 0.075 | $/kwh | 0
Service Charge | 35 | $ | 35
|  |  | 35 | Per Month
|  |  | 70 | For Two Months
From REPS
Account #: | 0
Rate: | Rate 300 MGS Secondary
Date: | 2023-02-21
Lights
Equip wattage | 0 | Example (20 lights @ 600W = 12,000W).
hours on per day | 0
hours per month | 0
kwh per month | 0
Bundled cost per kWh | 0 | Add delivery + SOP for the rate. (See example sheet for number format). Only fill in here. It will carry through to the other sections
Service charge | 0 | Fill in Delivery Rate for proposed rate. Only fill in here. It will carry through to the other sections
Cost for Lights | 0
Air Conditioning
Equip wattage |  | Number of AC's X wattage
hours on per day
hours per month | 0
kwh per month | 0
Bundled cost per kWh | 0
Cost for AC | 0
Dehumidifiers
Equip wattage |  | Number of Humidifiers X wattage
hours on per day
hours per month | 0
kwh per month | 0
Bundled cost per kWh | 0
Cost for Dehumidifiers | 0
Misc/Other
Equip wattage | 0
hours on per day | 0
hours per month | 0
kwh per month | 0
Bundled cost per kWh | 0
Cost for Misc/Other | 0
Monthly Bundled bill | 0
X2 for deposit | 0 | Proposed Deposit amount