## Customer Load Sheet
Preliminary Information for Permanent Electric Service
The following information must be provided as soon as it is known. Processing, approval and acquisition of transformers and equipment may require multiple months before service can be energized.
| Return to: | Central Maine Power Company |  |  |  | Date of EDET | 2026-09-01
| Attention: | ESS
|  | Tel# | #N/A
|  | Email Address | #N/A
I | GENERAL INFORMATION:
| Service Address: |  | City/Town: |  |  | Service Center: | Portland
Project Name:
| Business Agreement: |  | SIC Code |  | Revenue Class | 421 | Commercial
| SAP Notification Number |  |  |  | Customer Rate | Rate 310 MGS Secondary | 21-400 KW
Customer:
| Customer Contact Information: | Office: |  | Cell: |  | Email:
Electrical Contractor:
| Electrical Contractor Contact Information: | Office: |  | Cell: |  | Email:
Project Manager:
| Project Manager Contact Information | Office: |  | Cell: |  | Email:
| Building Used for: |  |  |  |  | SQ.FT. | 1000
II | NEW SERVICE INFORMATION
| Service type: New / Upgrade / Relocate / Temp | New
| SITE LAYOUT: | Attached: | x | WILL FOLLOW:
| DATE SERVICE REQUIRED: | Temporary: |  | PERMANENT:
| ENTRANCE SWITCH: | Voltage Required: | 3Ph. 120/208v | Switch Size Amps: | 0 | WIRE | 3
|  | Voltage: | 208 | PHASE: | 3
TYPE OF SERVICE:
| TRANSFORMER: | Type | Overhead XFMR
| SECONDARIES: | Secondary Type | Underground | Before installing secondaries on a riser pole, please contact your local CMP Line Department or Energy Services Specialist for guidance. Your district may require a crew assist for heavier conductors. You are limited to 4 sets of 4/0 or less OR 2 sets of greater than 4/0 underground secondaries. You are limited to 8 sets of secondaries (3 Phase) or 6 sets (1 Phase) for a pad mounted service.
|  | # of Sets | 2
|  | Largest Conductor Size | Other
Comments:
METERING INFORMATION:
| METERING REQUIRED: | Metering Type (Pri/Sec) | Secondary | Meter Type and Location | *No Meter Changes | Metering Locations MUST be preapproved by CMP. Note for Metering greater than 400 amps 120/208v /240v or 200 amps for 277/480v CTS are required. If switch over 1200 amps, CTS must be in pad OR in CMP APPROVED Switchboard. Please contact the CMP Metering Department for approvals. 1PH CTS are only allowed in a cabinet
| TOTAL No. OF METERS | 1 | Note if multiple metering, indicate largest meter (eg 400 amp) |  | Meter Installed By: |  | No Meter Changes
| Number of 3PH Meters | 1 | Number of 1PH Meters
| Number of Apartments |  | Other Comments on Metering (including # of End Users if applicable or Meter Location Adjustment)
| NEW CONNECTED COMMERCIAL LOADS: | [7 empty] | Calculators
| Enter Load Type. Use drop down in each cell to change type | New Connected Load KW | NEC Projected KW if Available | amps | volts | hrs/week | Comments |  |  |  | Power Factor | 0.95
Commercial Loads | Electric Vehicle Charging | 0 | [6 empty] | 3 Ph Amps | Amps | KWD | Voltage
| Receptacles | 0 | [7 empty] | 633.0781 | 500 | 480
| Miscellaneous/Other Not Specified | 0 | [6 empty] | 3 Ph KVA | KWD | AMPS | Voltage
| Heating including Heat Pumps | 0 | [6 empty] | 1153.9277 | 1096.2313 | 1388 | 480
| Heating including Heat Pumps | 0 | [6 empty] | 3 Ph KVA | KWD
| Lighting | 0 | [6 empty] | 1214.7368 | 1154
| Spec. Equipt (Welding/X-Ray/Elevators etc) | 0 | [6 empty] | 3 Ph KVA | KW | HP
| A/C | 0 | [6 empty] | 19.6316 | 18.65 | 25
| Heating - Water | 0
| Motor Loads General Purpose | 0 | [8 empty] | Power Factor | 0.95
| Electric Vehicle Charging | 0 | [6 empty] | 1 PH | AMPS | KWD | Voltage
| Refrigeration | 0 | [7 empty] | 100 | 11.4 | 120
| Spec. Equipt (Welding/X-Ray/Elevators etc) | 0 | [6 empty] | 1 Ph KVA | kw | AMPS | Voltage
| Spec. Equipt (Welding/X-Ray/Elevators etc) | 0 | [6 empty] | 12.6316 | 11.4 | 100 | 120
| Use for Spacing Only | 0
| Use for Spacing Only | 0 | [6 empty] | 1 Ph KVA | KW | HP
| Total Commercial and Common | 0 | 0 |  |  |  | Total Commercial and Common |  | 19.6316 | 18.65 | 25
NEW CONNECTED RESIDENTIAL LOADS:
Residential Loads | Laundry | 0
| Lighting | 0
| A/C | 0
| Heating including Heat Pumps | 0
| Motor Loads General Purpose | 0
| Motor Loads Semi Continuous | 0
| Receptacles | 0
| Refrigeration | 0
| Subtotal Apartments-Non Heat | 0 | 0 |  |  |  | SUBTOTAL APT-NON Heat
| A/C | 0
| Heating including Heat Pumps | 0
| Subtotal Apartments-Heat and A/C | 0 | 0 |  |  |  | SUBTOTAL APT-HEAT
| Total Residential Loads | 0 | 0 |  |  |  | TOTAL RESIDENTIAL LOADS
| Total New Connected Load | 0 | 0
Completed by
Brief Description of Project or Additional Comments
Note: When adding/changing these lists, make sure you sort by the first column as these drive the lookup functions
| Revenue Class | Revenue Class Description |  |  | ESS List
| 421 | Commercial |  |  | ESS | Tel | Fax | Email
| 422 | Industrial |  |  | Gary Ham | 2072423515 |  | Gary.Ham@cmpco.com
| N/a | N/a |  |  | Jamie Cough | 2076291489 | 2076294982 | jcough@cmpco.com
| Voltage Choice | Voltage | Phase |  | Jay Agreste | 2072424092 | 2076292541 | Jay.Agreste@cmpco.com
[5 empty] | Jeff Lagueux | 2076294552 | 2076294925 | jeffrey.lagueux@cmpco.com
| 1Ph. 120/208v Network | 208 | 1 |  | Josh Mitchell | 2072000333 |  | joshua.mitchell@cmpco.com
| 1Ph. 120/240v | 240 | 1 |  | Kathy Dumont | 2072425744 |  | katherine.dumont@cmpco.com
| 1Ph. 120v | 120 | 1 |  | Paul Duperre | 2077742393 |  | pduperre@cmpco.com
| 1Ph. 277v | 277 | 1 |  | Rick Delaney | 2076294516 |  | Richard.delaney@cmpco.com
| 1Ph. 480v | 480 | 1 |  | Sabrina Noble | 2075922507 |  | sabrina.noble@cmpco.com
| 3Ph. 120/208v | 208 | 3 |  | Susan Hasting | 2073206813 |  | susan.hastings@cmpco.com
| 3Ph. 120/240v Delta (NEEDS Engineering PREApproval) | 240 | 3
| 3Ph. 12470v | 12470 | 3
| 3Ph. 277/480v | 480 | 3 |  | Rate Code | Rate Description | Service Type
| 3Ph. 34500v | 34500 | 3 |  | Rate 210 SGS | 1 - 20 KW | New
| 3Ph. 480v | 480 | 3 |  | Rate 220 SGS TOU | 1 - 20 KW | Upgrade
[5 empty] | Rate 300 MGS Secondary | 21-400 KW | Relocation
[5 empty] | Rate 310 MGS Secondary | 21-400 KW | Temp
[5 empty] | Rate 320 MGS Secondary TOU | 21-400 KW | # Conductors
| Load Type - Commercial | Diversification-Default | Weeks per Yr for KWH Calcs |  | Rate 340 MGS Primary | 21-400 KW | 3
| A/C | 75% | 16 |  | Rate 360 MGS PrimayTOU | 21-400 KW | 4
| Computer | 75% | 52 |  | Rate 430 LGS S TOU | 1001 KW+
| Cooking Loads | 40% | 52 |  | Rate 470 LGS P TOU | 1001 KW+
| Electric Vehicle Charging | 100% | 52 |  | Rate 480 LGS ST TOU | 1001 KW+
| Future Loads | 80% | 52 |  | Rate 530 IGS S TOU | 401-1000 kw
| Generation | 100% | 52 |  | Rate 550 IGS P TOU | 401-1000 kw
| Heating - Water | 60% | 52 |  | Rate A 1P Residential | Residential
| Heating including Heat Pumps | 75% | 36 |  | Meter Type | Meter Installed By: | Metering Type
| Laundry | 50% | 52 |  | *No Meter Changes | No Meter Changes
| Lighting | 100% | 52 |  | Both CTs and Self Contained | Service Center and Division Meter | Primary
| Miscellaneous/Other Not Specified | 50% | 52 |  | CTs in Cabinet | Division Meter-note 1200a max | Secondary
| Motor Loads Continuous | 100% | 52 |  | CTs in Pad | Division Meter
| Motor Loads General Purpose | 30% | 52 |  | CTs in Switchgear | Division Meter
| Motor Loads Semi Continuous | 50% | 52 |  | Primary Metering | Division Meter
| Receptacles | 10% | 52 |  | Self Contained | Service Center
| Refrigeration | 50% | 52 |  | Transformer Type | Secondary Location
| Spec. Equipt (Welding/X-Ray/Elevators etc) | 30% | 52 |  | Padmount XFMR | Overhead
| Use for Spacing Only | 0% | 52 |  | Overhead XFMR | Underground
Vault or Network XFMR
| Load Type - Residential | Diversification-Default | Weeks per Yr for KWH Calcs |  | Service Centers
Alfred
| A/C | 75% | 16 |  | Augusta
| Computer | 75% | 52 |  | Belfast
| Cooking Loads | 40% | 52 |  | Bridgton
| Electric Vehicle Charging | 100% | 52 |  | Brunswick
| Future Loads | 80% | 52 |  | Dover
| Heating - Water | 60% | 52 |  | Fairfield
| Heating including Heat Pumps | 75% | 36 |  | Farmington
| Laundry | 50% | 52 |  | Lewiston
| Lighting | 100% | 52 |  | Portland
| Miscellaneous/Other Not Specified | 50% | 52 |  | Rockland
| Motor Loads Continuous | 100% | 52 |  | Skowhegan
| Motor Loads General Purpose | 30% | 52
| Motor Loads Semi Continuous | 50% | 52
| Receptacles | 10% | 52 |  | Service Centers | Town
| Refrigeration | 50% | 52 |  | ALFRED | ACTON
[5 empty] | ALFRED | ALFRED
| Load Type - Res - HVAC | Diversification-Default | Weeks per Yr for KWH Calcs |  | ALFRED | ARUNDEL
| A/C | 75% | 16 |  | ALFRED | BALDWIN
| Heating including Heat Pumps | 75% | 36 |  | ALFRED | BERWICK
| Use for Spacing Only | 0% | 52 |  | ALFRED | BIDDEFORD
[5 empty] | ALFRED | BROWNFIELD
[5 empty] | ALFRED | CORNISH
| # Sets of Secondaries | Underground Secondary Size |  |  | ALFRED | DAYTON
| 1 | 4/0 |  |  | ALFRED | ELIOT
| 2 | 250 |  |  | ALFRED | HIRAM
| 3 | 350 |  |  | ALFRED | HOLLIS
| 4 | 500 |  |  | ALFRED | KENNEBUNK
| 5 | 750 |  |  | ALFRED | KENNEBUNKPORT
| 6 | Other |  |  | ALFRED | KITTERY
| 7 |  |  |  | ALFRED | LEBANON
| 8 |  |  |  | ALFRED | LIMERICK
| Other-see comments |  |  |  | ALFRED | LIMINGTON
[5 empty] | ALFRED | LYMAN
[5 empty] | ALFRED | NEWFIELD
[5 empty] | ALFRED | NORTH BERWICK
[5 empty] | ALFRED | OGUNQUIT
[5 empty] | ALFRED | OLD ORCHARD BEACH
[5 empty] | ALFRED | PARSONSFIELD
[5 empty] | ALFRED | PORTER
[5 empty] | ALFRED | SACO
[5 empty] | ALFRED | SANFORD
[5 empty] | ALFRED | SHAPLEIGH
[5 empty] | ALFRED | SOUTH BERWICK
[5 empty] | ALFRED | STANDISH
[5 empty] | ALFRED | WATERBORO
[5 empty] | ALFRED | WELLS
[5 empty] | ALFRED | YORK
[5 empty] | AUGUSTA | ALBION
[5 empty] | AUGUSTA | AUGUSTA
[5 empty] | AUGUSTA | BELGRADE
[5 empty] | AUGUSTA | BOWDOIN
[5 empty] | AUGUSTA | BOWDOINHAM
[5 empty] | AUGUSTA | CHELSEA
[5 empty] | AUGUSTA | CHESTERVILLE
[5 empty] | AUGUSTA | CHINA
[5 empty] | AUGUSTA | DRESDEN
[5 empty] | AUGUSTA | FARMINGDALE
[5 empty] | AUGUSTA | FAYETTE
[5 empty] | AUGUSTA | FREEDOM
[5 empty] | AUGUSTA | GARDINER
[5 empty] | AUGUSTA | HALLOWELL
[5 empty] | AUGUSTA | JEFFERSON
[5 empty] | AUGUSTA | LEEDS
[5 empty] | AUGUSTA | LIBERTY
[5 empty] | AUGUSTA | LITCHFIELD
[5 empty] | AUGUSTA | MANCHESTER
[5 empty] | AUGUSTA | MONMOUTH
[5 empty] | AUGUSTA | MOUNT VERNON
[5 empty] | AUGUSTA | PALERMO
[5 empty] | AUGUSTA | PITTSTON
[5 empty] | AUGUSTA | RANDOLPH
[5 empty] | AUGUSTA | READFIELD
[5 empty] | AUGUSTA | RICHMOND
[5 empty] | AUGUSTA | ROME
[5 empty] | AUGUSTA | SABATTUS
[5 empty] | AUGUSTA | SIDNEY
[5 empty] | AUGUSTA | SOMERVILLE PLANTATION
[5 empty] | AUGUSTA | VASSALBORO
[5 empty] | AUGUSTA | VIENNA
[5 empty] | AUGUSTA | WALES
[5 empty] | AUGUSTA | WASHINGTON
[5 empty] | AUGUSTA | WAYNE
[5 empty] | AUGUSTA | WEST GARDINER
[5 empty] | AUGUSTA | WHITEFIELD
[5 empty] | AUGUSTA | WINDSOR
[5 empty] | AUGUSTA | WINTHROP
[5 empty] | BRIDGTON | ALBANY
[5 empty] | BRIDGTON | BALDWIN
[5 empty] | BRIDGTON | BETHEL
[5 empty] | BRIDGTON | BRIDGTON
[5 empty] | BRIDGTON | BROWNFIELD
[5 empty] | BRIDGTON | BUCKFIELD
[5 empty] | BRIDGTON | CASCO
[5 empty] | BRIDGTON | DENMARK
[5 empty] | BRIDGTON | FRYE ISLAND
[5 empty] | BRIDGTON | FRYEBURG
[5 empty] | BRIDGTON | GRAY
[5 empty] | BRIDGTON | GREENWOOD
[5 empty] | BRIDGTON | HARRISON
[5 empty] | BRIDGTON | HEBRON
[5 empty] | BRIDGTON | HIRAM
[5 empty] | BRIDGTON | LOVELL
[5 empty] | BRIDGTON | MECHANIC FALLS
[5 empty] | BRIDGTON | NAPLES
[5 empty] | BRIDGTON | NORWAY
[5 empty] | BRIDGTON | OTISFIELD
[5 empty] | BRIDGTON | OXFORD
[5 empty] | BRIDGTON | PARIS
[5 empty] | BRIDGTON | POLAND
[5 empty] | BRIDGTON | PORTER
[5 empty] | BRIDGTON | RAYMOND
[5 empty] | BRIDGTON | SEBAGO
[5 empty] | BRIDGTON | STANDISH
[5 empty] | BRIDGTON | STONEHAM
[5 empty] | BRIDGTON | STOW
[5 empty] | BRIDGTON | SUMNER
[5 empty] | BRIDGTON | SWEDEN
[5 empty] | BRIDGTON | WATERFORD
[5 empty] | BRIDGTON | WEST PARIS
[5 empty] | BRIDGTON | WINDHAM
[5 empty] | BRUNSWICK | ALNA
[5 empty] | BRUNSWICK | ARROWSIC
[5 empty] | BRUNSWICK | BATH
[5 empty] | BRUNSWICK | BOOTHBAY
[5 empty] | BRUNSWICK | BOOTHBAY HARBOR
[5 empty] | BRUNSWICK | BOWDOIN
[5 empty] | BRUNSWICK | BOWDOINHAM
[5 empty] | BRUNSWICK | BREMEN
[5 empty] | BRUNSWICK | BRISTOL
[5 empty] | BRUNSWICK | BRUNSWICK
[5 empty] | BRUNSWICK | CUMBERLAND
[5 empty] | BRUNSWICK | DAMARISCOTTA
[5 empty] | BRUNSWICK | DRESDEN
[5 empty] | BRUNSWICK | DURHAM
[5 empty] | BRUNSWICK | EDGECOMB
[5 empty] | BRUNSWICK | FREEPORT
[5 empty] | BRUNSWICK | GEORGETOWN
[5 empty] | BRUNSWICK | HARPSWELL
[5 empty] | BRUNSWICK | JEFFERSON
[5 empty] | BRUNSWICK | LEWISTON
[5 empty] | BRUNSWICK | LISBON
[5 empty] | BRUNSWICK | NEWCASTLE
[5 empty] | BRUNSWICK | NOBLEBORO
[5 empty] | BRUNSWICK | NORTH YARMOUTH
[5 empty] | BRUNSWICK | PHIPPSBURG
[5 empty] | BRUNSWICK | PITTSTON
[5 empty] | BRUNSWICK | POWNAL
[5 empty] | BRUNSWICK | RICHMOND
[5 empty] | BRUNSWICK | SABATTUS
[5 empty] | BRUNSWICK | SOMERVILLE PLANTATION
[5 empty] | BRUNSWICK | SOUTH BRISTOL
[5 empty] | BRUNSWICK | SOUTHPORT
[5 empty] | BRUNSWICK | SQUIRREL ISLE
[5 empty] | BRUNSWICK | TOPSHAM
[5 empty] | BRUNSWICK | WALDOBORO
[5 empty] | BRUNSWICK | WASHINGTON
[5 empty] | BRUNSWICK | WEST BATH
[5 empty] | BRUNSWICK | WESTPORT
[5 empty] | BRUNSWICK | WHITEFIELD
[5 empty] | BRUNSWICK | WISCASSET
[5 empty] | BRUNSWICK | WOOLWICH
[5 empty] | BRUNSWICK | YARMOUTH
[5 empty] | DOVER | ABBOT
[5 empty] | DOVER | BEAVER COVE PLT
[5 empty] | DOVER | BIG MOOSE TOWNSHIP
[5 empty] | DOVER | BLANCHARD
[5 empty] | DOVER | BOWER BANK
[5 empty] | DOVER | CAMBRIDGE
[5 empty] | DOVER | CARMEL
[5 empty] | DOVER | CORINNA
[5 empty] | DOVER | CORINTH
[5 empty] | DOVER | DEXTER
[5 empty] | DOVER | DIXMONT
[5 empty] | DOVER | DOVER FOXCROFT
[5 empty] | DOVER | ELLIOTSVILLE
[5 empty] | DOVER | ETNA
[5 empty] | DOVER | EXETER
[5 empty] | DOVER | FRENCHTOWN
[5 empty] | DOVER | GARLAND
[5 empty] | DOVER | GLENBURN
[5 empty] | DOVER | GREENVILLE
[5 empty] | DOVER | GUILFORD
[5 empty] | DOVER | HAMPDEN
[5 empty] | DOVER | HARFORD"S POINT
[5 empty] | DOVER | HARFORD'S POINT
[5 empty] | DOVER | HERMON
[5 empty] | DOVER | KENDUSKEAG
[5 empty] | DOVER | KINEO
[5 empty] | DOVER | KINGSBURY PLT
[5 empty] | DOVER | LEVANT
[5 empty] | DOVER | LILY BAY
[5 empty] | DOVER | MONSON
[5 empty] | DOVER | MOOSEHEAD JUNCTION TOWNSHI
[5 empty] | DOVER | MOOSEHEAD JUNCTION TOWNSHIP
[5 empty] | DOVER | NEWBURGH
[5 empty] | DOVER | NEWPORT
[5 empty] | DOVER | PALMYRA
[5 empty] | DOVER | PARKMAN
[5 empty] | DOVER | PLYMOUTH
[5 empty] | DOVER | RIPLEY
[5 empty] | DOVER | ROCKWOOD STRIP
[5 empty] | DOVER | SANDBAR TRACT
[5 empty] | DOVER | SANGERVILLE
[5 empty] | DOVER | SAPLING
[5 empty] | DOVER | SEBEC
[5 empty] | DOVER | SHIRLEY
[5 empty] | DOVER | ST ALBANS
[5 empty] | DOVER | STETSON
[5 empty] | DOVER | TAUNTON RAYNHAM
[5 empty] | DOVER | TOMHEGAN
[5 empty] | DOVER | WELLINGTON
[5 empty] | DOVER | WILLIMANTIC
[5 empty] | FAIRFIELD | ALBION
[5 empty] | FAIRFIELD | BELGRADE
[5 empty] | FAIRFIELD | BENTON
[5 empty] | FAIRFIELD | BURNHAM
[5 empty] | FAIRFIELD | CHINA
[5 empty] | FAIRFIELD | CLINTON
[5 empty] | FAIRFIELD | DETROIT
[5 empty] | FAIRFIELD | DIXMONT
[5 empty] | FAIRFIELD | FAIRFIELD
[5 empty] | FAIRFIELD | FREEDOM
[5 empty] | FAIRFIELD | JACKSON
[5 empty] | FAIRFIELD | MERCER
[5 empty] | FAIRFIELD | MONTVILLE
[5 empty] | FAIRFIELD | MOUNT VERNON
[5 empty] | FAIRFIELD | NEW SHARON
[5 empty] | FAIRFIELD | OAKLAND
[5 empty] | FAIRFIELD | PALERMO
[5 empty] | FAIRFIELD | PALMYRA
[5 empty] | FAIRFIELD | PITTSFIELD
[5 empty] | FAIRFIELD | PLYMOUTH
[5 empty] | FAIRFIELD | ROME
[5 empty] | FAIRFIELD | SIDNEY
[5 empty] | FAIRFIELD | SKOWHEGAN
[5 empty] | FAIRFIELD | SMITHFIELD
[5 empty] | FAIRFIELD | TROY
[5 empty] | FAIRFIELD | UNITY
[5 empty] | FAIRFIELD | UNITY TWP
[5 empty] | FAIRFIELD | VASSALBORO
[5 empty] | FAIRFIELD | WATERVILLE
[5 empty] | FAIRFIELD | WINSLOW
[5 empty] | FARMINGTON | ADAMSTOWN
[5 empty] | FARMINGTON | ALBANY
[5 empty] | FARMINGTON | ALDER STREAM TOWNSHIP
[5 empty] | FARMINGTON | ANDOVER
[5 empty] | FARMINGTON | ANDOVER NORTH SURPLUS
[5 empty] | FARMINGTON | ANSON
[5 empty] | FARMINGTON | AVON
[5 empty] | FARMINGTON | BETHEL
[5 empty] | FARMINGTON | BYRON
[5 empty] | FARMINGTON | CANTON
[5 empty] | FARMINGTON | CARRABASSETT VALLEY
[5 empty] | FARMINGTON | CARTHAGE
[5 empty] | FARMINGTON | CHAIN OF PONDS TOWNSHIP
[5 empty] | FARMINGTON | CHESTERVILLE
[5 empty] | FARMINGTON | COBURN GORE
[5 empty] | FARMINGTON | COPLIN PLT
[5 empty] | FARMINGTON | DALLAS PLT
[5 empty] | FARMINGTON | DAVIS
[5 empty] | FARMINGTON | DIXFIELD
[5 empty] | FARMINGTON | EMBDEN
[5 empty] | FARMINGTON | EUSTIS
[5 empty] | FARMINGTON | FARMINGTON
[5 empty] | FARMINGTON | FAYETTE
[5 empty] | FARMINGTON | FREEMAN
[5 empty] | FARMINGTON | GILEAD
[5 empty] | FARMINGTON | GRAFTON
[5 empty] | FARMINGTON | GREENWOOD
[5 empty] | FARMINGTON | HANOVER
[5 empty] | FARMINGTON | HARTFORD
[5 empty] | FARMINGTON | HIGHLAND PLT
[5 empty] | FARMINGTON | INDUSTRY
[5 empty] | FARMINGTON | JAY
[5 empty] | FARMINGTON | JIM POND
[5 empty] | FARMINGTON | KINGFIELD
[5 empty] | FARMINGTON | LANG
[5 empty] | FARMINGTON | LEEDS
[5 empty] | FARMINGTON | LEXINGTON
[5 empty] | FARMINGTON | LINCOLN PLT
[5 empty] | FARMINGTON | LIVERMORE
[5 empty] | FARMINGTON | LIVERMORE FALLS
[5 empty] | FARMINGTON | LOWER CUPSUPTIC
[5 empty] | FARMINGTON | MADRID
[5 empty] | FARMINGTON | MAGALLOWAY PLT
[5 empty] | FARMINGTON | MASON
[5 empty] | FARMINGTON | MEXICO
[5 empty] | FARMINGTON | MILTON
[5 empty] | FARMINGTON | NEW PORTLAND
[5 empty] | FARMINGTON | NEW SHARON
[5 empty] | FARMINGTON | NEW VINEYARD
[5 empty] | FARMINGTON | NEWRY
[5 empty] | FARMINGTON | PERKINS PLT
[5 empty] | FARMINGTON | PERU
[5 empty] | FARMINGTON | PHILLIPS
[5 empty] | FARMINGTON | RANGELEY
[5 empty] | FARMINGTON | RANGELEY PLT
[5 empty] | FARMINGTON | REDINGTON TOWNSHIP
[5 empty] | FARMINGTON | RICHARDSONTOWN TWP
[5 empty] | FARMINGTON | RILEY TOWNSHIP
[5 empty] | FARMINGTON | ROXBURY
[5 empty] | FARMINGTON | RUMFORD
[5 empty] | FARMINGTON | SALEM
[5 empty] | FARMINGTON | SANDY RIVER PLT
[5 empty] | FARMINGTON | STARKS
[5 empty] | FARMINGTON | STETSONTOWN
[5 empty] | FARMINGTON | STRONG
[5 empty] | FARMINGTON | SUMNER
[5 empty] | FARMINGTON | TEMPLE
[5 empty] | FARMINGTON | UPTON
[5 empty] | FARMINGTON | VIENNA
[5 empty] | FARMINGTON | WASHINGTON PLT
[5 empty] | FARMINGTON | WAYNE
[5 empty] | FARMINGTON | WELD
[5 empty] | FARMINGTON | WEST PARIS
[5 empty] | FARMINGTON | WILTON
[5 empty] | FARMINGTON | WOODSTOCK
[5 empty] | FARMINGTON | WYMAN
[5 empty] | LEWISTON | AUBURN
[5 empty] | LEWISTON | BOWDOIN
[5 empty] | LEWISTON | BUCKFIELD
[5 empty] | LEWISTON | CANTON
[5 empty] | LEWISTON | CASCO
[5 empty] | LEWISTON | DURHAM
[5 empty] | LEWISTON | GRAY
[5 empty] | LEWISTON | GREENE
[5 empty] | LEWISTON | HARTFORD
[5 empty] | LEWISTON | HEBRON
[5 empty] | LEWISTON | LEEDS
[5 empty] | LEWISTON | LEWISTON
[5 empty] | LEWISTON | LISBON
[5 empty] | LEWISTON | LITCHFIELD
[5 empty] | LEWISTON | LIVERMORE
[5 empty] | LEWISTON | MECHANIC FALLS
[5 empty] | LEWISTON | MINOT
[5 empty] | LEWISTON | MONMOUTH
[5 empty] | LEWISTON | NEW GLOUCESTER
[5 empty] | LEWISTON | OXFORD
[5 empty] | LEWISTON | POLAND
[5 empty] | LEWISTON | POWNAL
[5 empty] | LEWISTON | RAYMOND
[5 empty] | LEWISTON | SABATTUS
[5 empty] | LEWISTON | SUMNER
[5 empty] | LEWISTON | TURNER
[5 empty] | LEWISTON | WALES
[5 empty] | LEWISTON | WAYNE
[5 empty] | PORTLAND | BUXTON
[5 empty] | PORTLAND | CAPE ELIZABETH
[5 empty] | PORTLAND | CHEBEAGUE ISLAND
[5 empty] | PORTLAND | CLIFF ISLAND
[5 empty] | PORTLAND | CUMBERLAND
[5 empty] | PORTLAND | CUSHING ISLAND
[5 empty] | PORTLAND | DO NOT USE---
[5 empty] | PORTLAND | DURHAM
[5 empty] | PORTLAND | FALMOUTH
[5 empty] | PORTLAND | GORHAM
[5 empty] | PORTLAND | GRAY
[5 empty] | PORTLAND | GREAT DIAMOND ISLAND
[5 empty] | PORTLAND | HOPE ISLAND
[5 empty] | PORTLAND | HOUSE ISLAND
[5 empty] | PORTLAND | LITTLE DIAMOND ISLAND
[5 empty] | PORTLAND | LONG ISLAND
[5 empty] | PORTLAND | NORTH YARMOUTH
[5 empty] | PORTLAND | PEAKS ISLAND
[5 empty] | PORTLAND | PORTLAND EAST
[5 empty] | PORTLAND | PORTLAND WEST
[5 empty] | PORTLAND | POWNAL
[5 empty] | PORTLAND | SACO
[5 empty] | PORTLAND | SCARBOROUGH
[5 empty] | PORTLAND | SOUTH PORTLAND
[5 empty] | PORTLAND | STANDISH
[5 empty] | PORTLAND | WESTBROOK
[5 empty] | PORTLAND | WINDHAM
[5 empty] | PORTLAND | YARMOUTH
[5 empty] | ROCKLAND | APPLETON
[5 empty] | ROCKLAND | BELFAST
[5 empty] | ROCKLAND | BELMONT
[5 empty] | ROCKLAND | BROOKS
[5 empty] | ROCKLAND | BUCKSPORT
[5 empty] | ROCKLAND | CAMDEN
[5 empty] | ROCKLAND | CASTINE
[5 empty] | ROCKLAND | CUSHING
[5 empty] | ROCKLAND | DIXMONT
[5 empty] | ROCKLAND | ELLSWORTH
[5 empty] | ROCKLAND | FRANKFORT
[5 empty] | ROCKLAND | FREEDOM
[5 empty] | ROCKLAND | FRIENDSHIP
[5 empty] | ROCKLAND | HAMPDEN
[5 empty] | ROCKLAND | HOPE
[5 empty] | ROCKLAND | ISLESBORO
[5 empty] | ROCKLAND | JACKSON
[5 empty] | ROCKLAND | KNOX
[5 empty] | ROCKLAND | LIBERTY
[5 empty] | ROCKLAND | LINCOLNVILLE
[5 empty] | ROCKLAND | MONROE
[5 empty] | ROCKLAND | MONTVILLE
[5 empty] | ROCKLAND | MORRILL
[5 empty] | ROCKLAND | NEWBURGH
[5 empty] | ROCKLAND | NORTHPORT
[5 empty] | ROCKLAND | ORLAND
[5 empty] | ROCKLAND | OWLS HEAD
[5 empty] | ROCKLAND | PENOBSCOT
[5 empty] | ROCKLAND | PROSPECT
[5 empty] | ROCKLAND | ROCKLAND
[5 empty] | ROCKLAND | ROCKPORT
[5 empty] | ROCKLAND | SEARSMONT
[5 empty] | ROCKLAND | SEARSPORT
[5 empty] | ROCKLAND | SOUTH THOMASTON
[5 empty] | ROCKLAND | ST GEORGE
[5 empty] | ROCKLAND | STOCKTON SPRINGS
[5 empty] | ROCKLAND | SWANVILLE
[5 empty] | ROCKLAND | THOMASTON
[5 empty] | ROCKLAND | THORNDIKE
[5 empty] | ROCKLAND | TROY
[5 empty] | ROCKLAND | UNION
[5 empty] | ROCKLAND | UNITY
[5 empty] | ROCKLAND | VERONA
[5 empty] | ROCKLAND | WALDO
[5 empty] | ROCKLAND | WALDOBORO
[5 empty] | ROCKLAND | WARREN
[5 empty] | ROCKLAND | WASHINGTON
[5 empty] | ROCKLAND | WINTERPORT
[5 empty] | SKOWHEGAN | ANSON
[5 empty] | SKOWHEGAN | ATHENS
[5 empty] | SKOWHEGAN | ATTEAN
[5 empty] | SKOWHEGAN | BINGHAM
[5 empty] | SKOWHEGAN | BRIGHTON PLT
[5 empty] | SKOWHEGAN | CAMBRIDGE
[5 empty] | SKOWHEGAN | CANAAN
[5 empty] | SKOWHEGAN | CARATUNK
[5 empty] | SKOWHEGAN | CHASE STREAM TRACT
[5 empty] | SKOWHEGAN | CLINTON
[5 empty] | SKOWHEGAN | CONCORD
[5 empty] | SKOWHEGAN | CORNVILLE
[5 empty] | SKOWHEGAN | DENNISTOWN
[5 empty] | SKOWHEGAN | EAST MOXIE
[5 empty] | SKOWHEGAN | EMBDEN
[5 empty] | SKOWHEGAN | FAIRFIELD
[5 empty] | SKOWHEGAN | HARMONY
[5 empty] | SKOWHEGAN | HARTLAND
[5 empty] | SKOWHEGAN | INDIAN STREAM TWP
[5 empty] | SKOWHEGAN | INDUSTRY
[5 empty] | SKOWHEGAN | JACKMAN
[5 empty] | SKOWHEGAN | JOHNSON MT
[5 empty] | SKOWHEGAN | LONG POND
[5 empty] | SKOWHEGAN | MADISON
[5 empty] | SKOWHEGAN | MERCER
[5 empty] | SKOWHEGAN | MOOSE RIVER
[5 empty] | SKOWHEGAN | MOSCOW
[5 empty] | SKOWHEGAN | MOXIE GORE
[5 empty] | SKOWHEGAN | NEW SHARON
[5 empty] | SKOWHEGAN | NORRIDGEWOCK
[5 empty] | SKOWHEGAN | PALMYRA
[5 empty] | SKOWHEGAN | PARLIN POND
[5 empty] | SKOWHEGAN | PITTSFIELD
[5 empty] | SKOWHEGAN | PLEASANT RIDGE PLANTATION
[5 empty] | SKOWHEGAN | RIPLEY
[5 empty] | SKOWHEGAN | ROME
[5 empty] | SKOWHEGAN | SANDY BAY TOWNSHIP
[5 empty] | SKOWHEGAN | SKOWHEGAN
[5 empty] | SKOWHEGAN | SMITHFIELD
[5 empty] | SKOWHEGAN | SOLON
[5 empty] | SKOWHEGAN | ST ALBANS
[5 empty] | SKOWHEGAN | STARKS
[5 empty] | SKOWHEGAN | THE FORKS
[5 empty] | SKOWHEGAN | WELLINGTON
[5 empty] | SKOWHEGAN | WEST FORKS

## How-to for load sheet
Instructions to fill out load sheet ---Please complete YELLOW cells on Customer Load Sheet
General Information Section:
Please provide electrical contractor name, phone number & email address. This contact will be provided to the meter worker if they need to contact the electrician. Please fill in building use, this helps determine the Standard Industrial Classification (SIC code). The square footage is important as it can be used to determine a rough ballpark for future usage
Service Information Section:
Be sure to fill out:
Entrance Switch Size: Voltage Required and Amps
Transformer type and service: I.E. Overhead transformer with Underground service
Metering Section:
Please provide all applicable data:
Primary or Secondary Metering - typically secondary unless larger industrial customer
Metering type and location: Self-contained or CT rated - I.E. CTS IN PAD
Number of meters
Indicate largest meter
Number of apartments if applicable
Special comments if helpful
New Connected Loads:
Be sure to fill out KW in the "C" column. If you know the NEC projected loads, you can provide that in-addition-to the total KW.
Please provide amps / volts / hours per week if known - Comments can be made in column "H".
Load calculators have been provided to the right of the commercial section if needed.
Commercial Section:
Please fill out all new and existing if an upgrade is occurring, Comments in the "H" can be very helpful
Residential Section:
Please separate out regular loads from A/C / Heat & Heat pumps in the rows provided. Please provide existing if applicable.
Completed By & additional comments
Please provide the name of the person that completed the load sheet. This is very helpful if questions arise.

## ESS
NEW CONNECTED COMMERCIAL LOADS: | [8 empty] | PROJECTED LOADS:
Enter Load Type. Use drop down in each cell to change type | New Connected Load KW | NEC Projected KW if Available | amps | volts | hrs/week | weeks/yr | Comments | Default Diversification Value for Load Type | Diversification Factor (note corporate defaults are loaded) | KW New Diversified | KVA Diversified NEW | KWHrs/Yr Added |  |  |  | AC Loads KW | Heat Loads KW
Total Commercial and Common
Electric Vehicle Charging | 0 | 0 | 0 | 0 | 0 | 52 |  | 100% | 100% | 0 | 0 | 0 |  |  |  | 0 | 0
Receptacles | 0 | 0 | 0 | 0 | 0 | 52 |  | 10% | 10% | 0 | 0 | 0 |  |  |  | 0 | 0
Miscellaneous/Other Not Specified | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 |  |  |  | 0 | 0
Heating including Heat Pumps | 0 | 0 | 0 | 0 | 0 | 36 |  | 75% | 75% | 0 | 0 | 0 |  |  |  | 0 | 0
Heating including Heat Pumps | 0 | 0 | 0 | 0 | 0 | 36 |  | 75% | 75% | 0 | 0 | 0 |  |  |  | 0 | 0
Lighting | 0 | 0 | 0 | 0 | 0 | 52 |  | 100% | 100% | 0 | 0 | 0 |  |  |  | 0 | 0
Spec. Equipt (Welding/X-Ray/Elevators etc) | 0 | 0 | 0 | 0 | 0 | 52 |  | 30% | 30% | 0 | 0 | 0 |  |  |  | 0 | 0
A/C | 0 | 0 | 0 | 0 | 0 | 16 |  | 75% | 75% | 0 | 0 | 0 |  |  |  | 0 | 0
Heating - Water | 0 | 0 | 0 | 0 | 0 | 52 |  | 60% | 60% | 0 | 0 | 0 |  |  |  | 0 | 0
Motor Loads General Purpose | 0 | 0 | 0 | 0 | 0 | 52 |  | 30% | 30% | 0 | 0 | 0 |  |  |  | 0 | 0
Electric Vehicle Charging | 0 | 0 | 0 | 0 | 0 | 52 |  | 100% | 100% | 0 | 0 | 0 |  |  |  | 0 | 0
Refrigeration | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 |  |  |  | 0 | 0
Spec. Equipt (Welding/X-Ray/Elevators etc) | 0 | 0 | 0 | 0 | 0 | 52 |  | 30% | 30% | 0 | 0 | 0 |  |  |  | 0 | 0
Spec. Equipt (Welding/X-Ray/Elevators etc) | 0 | 0 | 0 | 0 | 0 | 52 |  | 30% | 30% | 0 | 0 | 0 |  |  |  | 0 | 0
Use for Spacing Only | 0 | 0 | 0 | 0 | 0 | 52 |  | 0% | 0% | 0 | 0 | 0 |  |  |  | 0 | 0
Use for Spacing Only | 0 | 0 | 0 | 0 | 0 | 52 |  | 0% | 0% | 0 | 0 | 0 |  |  |  | 0 | 0
Total Commercial and Common | 0 | 0 | 0 | 0 | 0 |  | Total Commercial and Common |  | Subtotal Commercial and Common | 0 | 0 | 0 | Commercial Load Amps | 0 |  | 0 | 0
Residential Loads | [11 empty] | Multi Unit Diversity Factor | Not Applicable
Laundry | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 | 1 |  |  | 0 | 0
Lighting | 0 | 0 | 0 | 0 | 0 | 52 |  | 100% | 100% | 0 | 0 | 0 | APTs |  |  | 0 | 0
A/C | 0 | 0 | 0 | 0 | 0 | 16 |  | 75% | 75% | 0 | 0 | 0 | 0 |  |  | 0 | 0
Heating including Heat Pumps | 0 | 0 | 0 | 0 | 0 | 36 |  | 75% | 75% | 0 | 0 | 0 |  |  |  | 0 | 0
Motor Loads General Purpose | 0 | 0 | 0 | 0 | 0 | 52 |  | 30% | 30% | 0 | 0 | 0 |  |  |  | 0 | 0
Motor Loads Semi Continuous | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 |  |  |  | 0 | 0
Receptacles | 0 | 0 | 0 | 0 | 0 | 52 |  | 10% | 10% | 0 | 0 | 0 |  |  |  | 0 | 0
Refrigeration | 0 | 0 | 0 | 0 | 0 | 52 |  | 50% | 50% | 0 | 0 | 0 |  |  |  | 0 | 0
Subtotal Apartments-Non Heat | 0 | 0 | 0 | 0 | 0 |  | SUBTOTAL APT-NON Heat |  | Subtotal Apartments-Non Heat | 0 | 0 | 0 |  |  |  | 0 | 0
A/C | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 75% | 75% | 0 | 0 | 0 |  |  |  | 0 | 0
Heating including Heat Pumps | 0 | 0 | 0 | 0 | 0 | 36 | 0 | 75% | 75% | 0 | 0 | 0 |  |  |  | 0 | 0
Subtotal Apartments-Heat and A/C | 0 | 0 | 0 | 0 | 0 |  | SUBTOTAL APT-HEAT |  | Subtotal Apartments-Heat and A/C | 0 | 0 | 0 |  |  |  | 0 | 0
Total New Connected Load | 0 | 0 | 0 | 0 | 0 |  | TOTAL RESIDENTIAL LOADS |  | TOTAL RESIDENTIAL LOADS | 0 | 0 | 0 | Apt/Res Load Amps | 0
|  | 0 | 0 | 0 | [8 empty] | KW per Apt | #DIV/0! |  | 0 | 0
Total New Connected Load | 0 | 0 | 0 | 0
[10 empty] | KW | KVA
Completed by | [8 empty] | Total Projected NEW Loads taking only Peak A/C or Peak Heat | 0 | 0 |  | Voltage | 208
Brief Description of Project or Additional Comments |  | #REF! | #REF! | #REF! | #REF! |  | #REF! |  | Existing KW Demand from THIS Customer to be included with upgrade |  | 0 |  | Phase | 3 | % Amps on Main
Additional Comments by ESA | [8 empty] | Expected Demand on This Transformer from THIS customer | 0 | 0 |  | Amps | 0 | #DIV/0!
[9 empty] | Additional KW load from OTHER customers served from this transformer |  | 0 |  | Power Factor | 0.95
[9 empty] | Total Load on this Transformer | 0 | 0 |  | Watts/SqFt | 0
COPY FOR FP TASK: 16 |  |  |  | METERING QUICK VIEW: | [8 empty] | Estimated KWH cost incl demand | 0.14
TRANSFORMER(S): |  |  |  | TOTAL METER COUNT: |  | 1 | IF LARGE # OF METERS ARE NEEDED, CONTACT METER DEPT SUPERVISOR | [5 empty] | Deposit (2 Month Basis)-Commerical only
1 * U3TD3JFAPFE |  |  |  | NUMBER OF 3PH MTRS: |  | 1 | [6 empty] | Expected KWH/YR NEW Commercial | 0
300 KVA |  |  |  | NUMBER OF 1PH MTRS: |  | 0 | [6 empty] | Estimated NEW annual Revenues Commercial | 0
D866243E |  |  |  | TOTAL APT COUNT: |  | 0
PADXMR 3P 300K 12GY/7.2 208Y/120P F NT E | [12 empty] | Expected KWH/YR NEW Residential | 0
[13 empty] | Estimated NEW annual Revenues Residential | 0
METERING:
No Meter Changes
Multiple Unit Diversity | Diversification
10-14 Units | 63%
15-19 Units | 53%
20-24 Units | 49%
2-4 Units | 100%
25-29 Units | 46%
30-34 Units | 44%
35-39 Units | 42%
40-49 Units | 41%
50+ Units | 40%
5-9 Units | 78%
Not Applicable | 100%
Note on L2: NOTE Yellow is Default-changes to RED when NOT the corporate default
Note on Q20: NOTE this is the total Commercial Amps, and if multiple meters it does not reflect just the CT loads
Note on S20: Total Commercial AC Loads
Note on T20: Total Commercial Heat Pump Loads
Note on S33: Total Residential AC Loads
Note on T33: Total Residential Heat Pump Loads
Note on Q34: NOTE this is the total RESIDENTIAL Amps, and if multiple meters it does not reflect just the CT loads
Note on S35: Total AC Loads
Note on T35: Total Heat Pump Loads
Note on Q40: NOTE this is the total load, and if multiple meters it does not reflect just the CT loads

## Transmission-Distribution Plan
ESA | CUSTOMER NAME:
| Business Agreement # |  |  | SAP Notification
SERVICE ADDRESS:
| Phone Number: | Office: |  | Cell: |  | Other:
ELEC. CONTRACTOR:
OTHER CONTACT:
| BLDG. USED FOR: |  |  |  |  | SQ.FT. | 1000
Engineering | SERVICE: | New/Upgrade/Relocation | New | SERVICE TYPE: | Secondary | PHASE | 3
| MAIN DISCONNECT: | Volts: | 208 | Disconnect AMPS | 0 | WIRE | 3
| Primary Line Construction | Overhead
| Existing TRANSFORMER Type | None
| INSTALL TRANSFORMER: | Padmount XFMR
| Install Transformer Size | 300
| # TRANSFORMERS: | 1 | # SERVICES FROM XFMR | 1
Pole or Pad #:
Substation and Circuit
| Power Factor | 0.95 | Default is from ESA Tab | Is Full Reduncancy of Service Rquired? | No
Metering | METERING REQUIRED: | *No Meter Changes | Total NO. OF METERS |  | 1 | SIC Code | 0
| METERING INSTALLED BY: | No Meter Changes | Comments |  | Revenue Class | 421 | Customer Rate | Rate 310 MGS Secondary | 21-400 KW
| METER TYPE | kWh | x | kW | x | kVARD |  | Self Contained or CT Metered? | *No Meter Changes
| CT LOCATION: | *No Meter Changes | Comments |  | Other Comments on Metering (including # of End Users if applicable or Meter Location Adjustment) | 0
| METER LOAD on the CTs (AMPS) | 0 | NOTE-default is the calculated amps for the total load-if mulitple meters you will need to back out the amps and put in just the CT Amps
III | LOAD DATA Summary | From Customer | From ESA | From ESA
| Enter Load Type. Use drop down in each cell to change type | New Connected Load KW | KW New Diversified | KVA Diversified NEW
Commercial Loads | Electric Vehicle Charging | 0 | 0 | 0
| Receptacles | 0 | 0 | 0
| Miscellaneous/Other Not Specified | 0 | 0 | 0
| Heating including Heat Pumps | 0 | 0 | 0
| Heating including Heat Pumps | 0 | 0 | 0
| Lighting | 0 | 0 | 0
| Spec. Equipt (Welding/X-Ray/Elevators etc) | 0 | 0 | 0
| A/C | 0 | 0 | 0
| Heating - Water | 0 | 0 | 0
| Motor Loads General Purpose | 0 | 0 | 0
| Electric Vehicle Charging | 0 | 0 | 0
| Refrigeration | 0 | 0 | 0
| Spec. Equipt (Welding/X-Ray/Elevators etc) | 0 | 0 | 0
| Spec. Equipt (Welding/X-Ray/Elevators etc) | 0 | 0 | 0
| Use for Spacing Only | 0 | 0 | 0
| Use for Spacing Only | 0 | 0 | 0
| Total Commercial and Common | 0 | 0 | 0
Residential Loads | Laundry | 0 | 0 | 0
0 | Lighting | 0 | 0 | 0
0 | A/C | 0 | 0 | 0
0 | Heating including Heat Pumps | 0 | 0 | 0
0 | Motor Loads General Purpose | 0 | 0 | 0
0 | Motor Loads Semi Continuous | 0 | 0 | 0
0 | Receptacles | 0 | 0 | 0
0 | Refrigeration | 0 | 0 | 0
0 | Subtotal Apartments-Non Heat | 0 | 0 | 0
0 | A/C | 0 | 0 | 0
0 | Heating including Heat Pumps | 0 | 0 | 0
0 | Subtotal Apartments-Heat and A/C | 0 | 0 | 0
| Total Residential Loads | 0 | 0 | 0
| Total New Connected Load | 0 | 0 | 0
| Existing Demand from THIS Customer to be added to the Transformer Load |  |  | 0 | KVA | VOLTAGE REQ'D ENTERED BY ELEC. |  | 3Ph. 120/208v
| Existing Demand from Other Customers served by the Transformer |  |  | 0 | KVA
| Total Expected Demand on This Transformer |  |  | 0 | KVA
|  | # of Units | KVA | Transformer Description | MID | Transformer CU | Transformer Notes:
| Transformer | 1 | 300 | PADXMR 3P 300K 12GY/7.2 208Y/120P F NT E | D866243E | U3TD3JFAPFE | Comments on Transformer if not a standard pick
NOTE: To add Transformers to this list you must:
1. Add to the appropriate information to the CMP Transformer Inventory (Beginning in Cell B79). Make sure to use the same formatting and language as well as change the Ranges for each range in line 80. (Go into Name Manager to expand the Range-it looks for the name range-the third column of each transformer set on Row 79) Sortbyname
2. Add to the section-"CMP Transformer Inventory Sorted Alphabetically…." beginning Cell A105. Once you have added to the list, then SORT by Column A (use drop down). Save, check, then Protect Sheet.
xfmr300 | CMP Transformer Inventory (Normal Stock)
xfmr | xfmr10 |  | name | xfmr25 |  | name | xfmr50 |  | name | xfmr75 |  | name | xfmr100 |  | name | xfmr112.5 |  | name | xfmr150 |  | name | xfmr167 |  | name | xfmr300 |  | name | xfmr500 |  | name | xfmr750 |  | name | xfmr1000 |  | name | xfmr1500 |  | name | xfmr2000 |  | name | xfmr2500 |  | name | xfmr5000 |  | name | xfmr7500 |  | name
10 | U3XD1FZBCE | D74380010E | OHXMR 1P 10K 34GY/19.9, 120/240C E | U3XD1HMHCE | D860869E | OHXMR 1P 25K 12.4GRDY/7.2 277 CON E EF | U3XD1JUHCE | D861270E | OHXMR 1P 50K 12.4/7.2 277 CON E EF | Other | Other | Other | U3XD1LUHCE | D861670E | OHXMR 1P 100K 12.4G/7.2 277 CON E EF | Other | Other | Other | U3TD3GFAPFE | D866043E | PADXMR 3P 150K 12GY/7.2 208Y/120P F NT E | U3XD1NUHCE | D862070E | OHXMR 1P 167K 12.4/7.2 277 CON E EF | U3TD3JFAPFE | D866243E | PADXMR 3P 300K 12GY/7.2 208Y/120P F NT E | U3VD3KFBCE | D869342E | NETXMR 3P 500K 11.5 216Y/125 CON E EF | U3VD3LFBCE | D869442E | NETXMR 3P 750K 11.5 216Y/125 CON E EF | U3VD3MFGCE | D869546E | NETXMR 3P 1000K 11.5 480Y/277 CON E EF | U3VD3NEGCE | D869646E | NETXMR 3P 1500K 11.5-480Y/277 CON E E | U3TD3PFGCLE | D866747E | PADXMR 3P 2000K 12.4 480Y/277 C LF E E | U3TD3QFGPFE | D866848E | PADXMR 3P 2500K 12.4 480Y/277 PRO FT E E | U3TD3RKLCRE | D866988E | PADXMR 3P 5000K 34 12.4/7.2 DF RAD E E | U3TD3SKLRSE | D867010E | PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E
25 | U3XD1FMBCE | D448109E | OHXMR 1P 10K 7.2/12.4Y 120/240 CON E EF | U3XD1HZBCE | D860961E | OHXMR 1P 25K 34.5/19.9 120/240 CON E EF | U3XD1JZBCTE | D861362E | OHXMR 1P 50K 34.5/19.9 120/240 CON E EF |  |  |  | U3XD1LZBCE | D861762E | OHXMR 1P 100K 34.5/19.9 120/240 CON E EF |  |  |  | U3TD3GLACFE | D866084E | PADXMR 3P 150K 34.5Y/19.9 208Y/120C FT E | U3XD1NZBCE | D862162E | OHXMR 1P 167K 34.5GRDY/19.9-120/240 C E | U3TD3JFGPLE | D866247E | PADXMR 3P 300K 12GY/7.2 480Y/277P F NT E | U3TD3KGACFE | D866344E | PADXMR 3P 500K 12.4 208Y/120 PRO FT E EF | U3VD3LEGCE | D869446E | NETXMR 3P 750K 11.5-480Y/277 CON E EF | U3TD3MGGCFE | D866548E | PADXMR 3P 1000K 12.4 480Y/277PRO FT E | U3TD3NFFGLE | D866647E | PADXMR 3P 1500K 12.4 480Y/277CON FT E EF | U3TD3PKGCLE | D866787E | PADXMR 3P 2000K 34.5 480Y/277C LF E E | U3TD3QKGCLE | D866886E | PADXMR 3P 2500K 34.5,480Y/277 CON LF E | Other | Other | Other | Other | Other | Other
50 | Other | Other | Other | U3XD1HZDCE | D860965E | OHXMR 1P 25K 34.5GRDY/19.9 139/277C E EF | U3XD1JZDCE | D861366E | OHXMR 1P 50K 34.5Y/19.9 139/277CON E EF |  |  |  | U3XD1LZDE | D861766E | OHXMR 1P 100K 34.5Y/19.9 139 X 277C E EF |  |  |  | U3TD3GFGPFE | D866047E | PXDXMR 3P 150K 12GY/7.2 480Y/277P F NT E | U3XD1NMBCE | D448117E | OHXMR 1P 167K 7.2/12.4Y 120/240C E EF | U3TD3JLGCE | D866288E | PADXMR 3P 300K 34.5GY/19.9 480Y/277C E | U3TD3KGFCFE | D866348E | PADXMR 3P 500K 12.4 480/277PRO FT E EF | U3WD3LGGCFE | D868458E | SUBXMR 3P 750K 12.4 480Y/277PRO FT E E | U3TD3MGACFE | D866544E | PADXMR 3P 1000K 12GRDY 208Y/120P FT E | U3TD3NKGCLE | D866687E | PADXMR 3P 1500K 34.5 480Y/277CON LF E EF | Other | Other | Other | Other | Other | Other
75 |  |  |  | U3XD1HMBCE | D448257E | OHXMR 1P 25K 7.2/12.4Y 120/240 CON E EF | U3XD1JMBCTE | D448508E | OHXMR 1P 50K 7.2/12.4Y 120/240 CON E EF |  |  |  | U3XD1LMBCE | D448010E | OHXMR 1P 100K 7.2/12.4Y 120/240CON E EF |  |  |  | Other | Other | Other | U3XD1NZDC | D862166 | OHXMR, 167K, 34.5/19.9, 138.5 X 277, CON | U3TD3JLACFE | D866284E | PADXMR 3P 300K 34.5Y/19.9 208Y/120C FT E | U3TD3KMGCFE | D866388E | PADXMR 3P 500K 34.5/19.9 480Y/277C FT E | U3WD3LFAPFE | D868454E | SUBXMR, 750K, 12.4, 208Y/120, CON, FT E EF | U3TD3MKGCLE | D866587E | PADXMR 3P 1000K 34.5 480Y/277 CON LF E E | Other | Other | Other
100 |  |  |  | U3XD1HMBCE | D448257E | OHXMR 1P 25K 7.2/12.4Y 120/240 CON E EF | Other | Other | Other |  |  |  | Other | Other | Other | [6 empty] | U3TD1NUECFE | D865553E | PADXMR 1P 167K 12.4/7.2 240/120P FT E EF | U3WD3JGAPFE | D868254E | SUBXMR 3P 300K 12.4 208Y/120 PRO FT E | U3TD3KLACLE | D866384E | PADXMR 3P 500K 34.5GY/19. 208Y/120C LF E | Other | Other | Other | U3TD3MLACF | D866584 | PADXMR, 1000K, 34.5, 208Y/120, PRO, FT
112.5 |  |  |  | U3XD1HZBCE | D74380025E | OHXMR 1P 25K 34.5/19.9 120/240 CON | [15 empty] | Other | Other | Other | Other | Other | Other | U3WD3KGAPFE | D868354E | SUBXMR 3P 500K 12.4 208Y/120 PRO FT E EF |  |  |  | U3WD3MGACFE | D868554E | SUBXMR 3P 1000K 12.4 208Y/120 P FT E EF
150 |  |  |  | Other | Other | Other | [21 empty] | U3WD3KGGC | D869168 | SUBXMR, 500K, 12.4, 480Y/277, CON |  |  |  | U3WD3MFGPFE | D868558E | SUBXMR 3P 1000K 12.4 TO 480Y/277 P FT E
167 | [27 empty] | Other | Other | Other |  |  |  | Other | Other | Other
300
500
750
1000
1500
2000
2500
5000
7500
Transformer Type | Line Construction
None | Overhead
Overhead | Underground
Padmount | Underground Network
Vault
Submersible
Network
Description | CU | OLD CMP | KVA
NETXMR 3P 1000K 11.5 480Y/277 CON E EF | U3VD3MFGCE | D869546E | 1000
NETXMR 3P 1500K 11.5-480Y/277 CON E E | U3VD3NEGCE | D869646E | 1500
NETXMR 3P 500K 11.5 216Y/125 CON E EF | U3VD3KFBCE | D869342E | 500
NETXMR 3P 750K 11.5 216Y/125 CON E EF | U3VD3LFBCE | D869442E | 750
NETXMR 3P 750K 11.5-480Y/277 CON E EF | U3VD3LEGCE | D869446E | 750
OHXMR 1P 100K 12.4G/7.2 277 CON E EF | U3XD1LUHCE | D861670E | 100
OHXMR 1P 100K 34.5/19.9 120/240 CON E EF | U3XD1LZBCE | D861762E | 100
OHXMR 1P 100K 34.5Y/19.9 139 X 277C E EF | U3XD1LZDE | D861766E | 100
OHXMR 1P 100K 7.2/12.4Y 120/240CON E EF | U3XD1LMBCE | D448010E | 100
OHXMR 1P 10K 34GY/19.9, 120/240C E | U3XD1FZBCE | D74380010E | 10
OHXMR 1P 10K 7.2/12.4Y 120/240 CON E EF | U3XD1FMBCE | D448109E | 10
OHXMR 1P 167K 12.4/7.2 277 CON E EF | U3XD1NUHCE | D862070E | 167
OHXMR 1P 167K 34.5GRDY/19.9-120/240 C E | U3XD1NZBCE | D862162E | 167
OHXMR 1P 167K 7.2/12.4Y 120/240C E EF | U3XD1NMBCE | D448117E | 167
OHXMR 1P 25K 12.4GRDY/7.2 277 CON E EF | U3XD1HMHCE | D860869E | 25
OHXMR 1P 25K 34.5/19.9 120/240 CON | U3XD1HZBCE | D74380025E | 25
OHXMR 1P 25K 34.5/19.9 120/240 CON E EF | U3XD1HZBCE | D860961E | 25
OHXMR 1P 25K 34.5GRDY/19.9 139/277C E EF | U3XD1HZDCE | D860965E | 25
OHXMR 1P 25K 7.2/12.4Y 120/240 CON E EF | U3XD1HMBCE | D448257E | 25
OHXMR 1P 50K 12.4/7.2 277 CON E EF | U3XD1JUHCE | D861270E | 50
OHXMR 1P 50K 34.5/19.9 120/240 CON E EF | U3XD1JZBCTE | D861362E | 50
OHXMR 1P 50K 34.5Y/19.9 139/277CON E EF | U3XD1JZDCE | D861366E | 50
OHXMR 1P 50K 7.2/12.4Y 120/240 CON E EF | U3XD1JMBCTE | D448508E | 50
OHXMR, 167K, 34.5/19.9, 138.5 X 277, CON | U3XD1NZDC | D862166 | 167
Other | Other | Other | Other
PADXMR 1P 167K 12.4/7.2 240/120P FT E EF | U3TD1NUECFE | D865553 | 167
PADXMR 3P 1000K 12.4 480Y/277PRO FT E | U3TD3MGGCFE | D866548E | 1000
PADXMR 3P 1000K 12GRDY 208Y/120P FT E | U3TD3MGACFE | D866544E | 1000
PADXMR 3P 1000K 34.5 480Y/277 CON LF E E | U3TD3MKGCLE | D866587E | 1000
PADXMR 3P 1500K 12.4 480Y/277CON FT E EF | U3TD3NFFGLE | D866647E | 1500
PADXMR 3P 1500K 34.5 480Y/277CON LF E EF | U3TD3NKGCLE | D866687E | 1500
PADXMR 3P 150K 12GY/7.2 208Y/120P F NT E | U3TD3GFAPFE | D866043E | 150
PADXMR 3P 150K 34.5Y/19.9 208Y/120C FT E | U3TD3GLACFE | D866084E | 150
PADXMR 3P 2000K 12.4 480Y/277 C LF E E | U3TD3PFGCLE | D866747E | 2000
PADXMR 3P 2000K 34.5 480Y/277C LF E E | U3TD3PKGCLE | D866787E | 2000
PADXMR 3P 2500K 12.4 480Y/277 PRO FT E E | U3TD3QFGPFE | D866848E | 2500
PADXMR 3P 2500K 12.4 TO 480Y/277C LF E E | U3TD3QFGCLE | D866847E | 2500
PADXMR 3P 2500K 34.5,480Y/277 CON LF E | U3TD3QKGCLE | D866886E | 2500
PADXMR 3P 2500K 34.5,480Y/277 CON LF E | U3TD3QKGCLE | D866886E | 2500
PADXMR 3P 300K 12GY/7.2 208Y/120P F NT E | U3TD3JFAPFE | D866243E | 300
PADXMR 3P 300K 12GY/7.2 208Y/120P F NT E | U3TD3JFAPFE | D866243E | 300
PADXMR 3P 300K 12GY/7.2 480Y/277P F NT E | U3TD3JFGPLE | D866247E | 300
PADXMR 3P 300K 12GY/7.2 480Y/277P F NT E | U3TD3JFGPLE | D866247E | 300
PADXMR 3P 300K 34.5GY/19.9 480Y/277C E | U3TD3JLGCE | D866288E | 300
PADXMR 3P 300K 34.5GY/19.9 480Y/277C E | U3TD3JLGCE | D866288E | 300
PADXMR 3P 300K 34.5Y/19.9 208Y/120C FT E | U3TD3JLACFE | D866284E | 300
PADXMR 3P 5000K 34 12.4/7.2 DF RAD E E | U3TD3RKLCRE | D866988E | 5000
PADXMR 3P 5000K,34.5,12.4/7.2,DF,RAD | U3TD3RKLCR | D866988 | 5000
PADXMR 3P 500K 12.4 208Y/120 PRO FT E EF | U3TD3KGACFE | D866344E | 500
PADXMR 3P 500K 12.4 208Y/120 PRO FT E EF | U3TD3KGACFE | D866344E | 500
PADXMR 3P 500K 12.4 480/277PRO FT E EF | U3TD3KGFCFE | D866348E | 500
PADXMR 3P 500K 12.4 480/277PRO FT E EF | U3TD3KGFCFE | D866348E | 500
PADXMR 3P 500K 34.5/19.9 480Y/277C FT E | U3TD3KMGCFE | D866388E | 500
PADXMR 3P 500K 34.5/19.9 480Y/277C FT E | U3TD3KMGCFE | D866388E | 500
PADXMR 3P 500K 34.5GY/19. 208Y/120C LF E | U3TD3KLACLE | D866384E | 500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D867010E | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D868354 | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D868354E | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D868454 | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D868558 | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D868558E | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D869646 | 7500
PADXMR 3P 7500K 34-12.4GY/7.2 RAD STP E | U3TD3SKLRSE | D869646E | 7500
PADXMR 3P 75K 12GY/7.2 208Y/120P FT NT E | U3TD3EFAPFE | D865843E | 75
PADXMR 3P 75K 12GY/7.2 480Y/277P FT NT E | U3TD3EFGPFE | D865847E | 75
PADXMR, 1000K, 34.5, 208Y/120, PRO, FT | U3TD3MLACF | D866584 | 1000
PXDXMR 3P 150K 12GY/7.2 480Y/277P F NT E | U3TD3GFGPFE | D866047E | 150
SUBXMR 3P 1000K 12.4 208Y/120 P FT E EF | U3WD3MGACFE | D868554E | 1000
SUBXMR 3P 1000K 12.4 TO 480Y/277 P FT E | U3WD3MFGPFE | D868558E | 1000
SUBXMR 3P 300K 12.4 208Y/120 PRO FT E | U3WD3JGAPFE | D868254E | 300
SUBXMR 3P 500K 12.4 208Y/120 PRO FT E EF | U3WD3KGAPFE | D868354E | 500
SUBXMR 3P 750K 12.4 480Y/277PRO FT E E | U3WD3LGGCFE | D868458E | 750
SUBXMR, 1000K, 12.4, 208Y/120, FT | U3WD3MGACF | D868554 | 1000
SUBXMR, 1000K, 12.4, 480Y/277, FT | U3WD3MGGCF | D868558 | 1000
SUBXMR, 500K, 12.4, 480Y/277, CON | U3WD3KGGC | D869168 | 500
SUBXMR, 750K, 12.4, 208Y/120, CON, FT | U3WD3LGACF | D868454 | 750
SUBXMR, 750K, 12.4, 208Y/120, CON, FT E EF | U3WD3LFAPFE | D868454E | 750
SUBXMR, 750K, 12.4, 480Y/277, CON, FT | U3WD3LGGCF | D868458 | 750

## Metering
ESA | CUSTOMER NAME:
| Business Agreement # |  |  | SAP Notification
SERVICE ADDRESS:
| Phone Number: | Office: |  | Cell: |  | Other:
ELEC. CONTRACTOR:
| Phone Number: | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| BLDG. USED FOR: |  |  |  |  | SQ.FT. | 1000
| SERVICE: | New Upgrade or Relocation | New |  | SERVICE TYPE: | Secondary
| MAIN DISCONNECT: | Volts: | 208 | Disconnect AMPS | 0 | PHASE | 3 | WIRE | 3
Metering | METERING REQUIRED: | *No Meter Changes | Total NO. OF METERS |  | 1 | SIC Code | 0
| METERING INSTALLED BY: | No Meter Changes | Comments |  | Revenue Class | 421 | Customer Rate | Rate 310 MGS Secondary | 21-400 KW
| METER TYPE | kWh | x | kW | x | kVARD
| CT LOCATION: | *No Meter Changes | Comments |  | Other Comments on Metering (including # of End Users if applicable or Meter Location Adjustment) | 0
| METER LOAD on the CTs (AMPS) | 0 | NOTE-default is the calculated amps for the total load-if mulitple meters you will need to back out the amps and put in just the CT Amps
| Existing Demand from THIS Customer to be added to the Transformer Load |  |  | 0 | KVA
| Existing Demand from Other Customers served by the Transformer |  |  | 0 | KVA
| Total Expected Demand on This Transformer |  |  | 0 | KVA | AMPs | 0

## METER DATA
GLOBAL ADD A METER
Reason for Transaction | [6 empty] | Cust Name:
Bus. Partner:
Nearest txf for TCC: | [6 empty] | BuAg #:
Meter No.: |  |  |  | Meter Seal: |  | { |  | } | Glbl Not. #:
New Reg. Group: |  |  |  | Disc. Loc. Type: |  | { |  | } | Nearest Meter:
New Reg. Factor (MLA): |  |  |  | New Load Control: |  | { |  | } | Text Cy Code:
New Billing Factor: |  |  |  | Meter Voltage: |  | { |  | } | RSC:
New KYZ: |  |  |  | No. End Users: |  | { |  | } | Meter Loc:
New Meter Prog. I.D.: | [9 empty] | Keys:
Add Instrument Transformer:
| TYPE (CT, VT, XCV) | SERIAL NUMBER |  |  | RATIO |  |  |  | Read Instructions:
Freeform Text:
Technician: | [5 empty] | Date Wired: |  |  |  |  | Time:
Service Cable Terminated: |  |  | Main Disc. Size: |  |  | Date Energized: |  |  |  |  | Time: