## 1-PH & 3-PH
L O A D S H E E T |  |  |  |  | Southern Operating Region (Bangor Hydro District)
Please Note: The prompt return of this properly completed form is mandatory before we will begin engineering and/or extend service. This shall be accomplished by the Contractor, Electrical Designer, and/or Customer. This information is essential during the initial stages of the service to determine the appropriate line equipment, transformer sizing, metering, and applicable rate.
Customer Information |  |  |  |  | Electrical Contractor Information
Business Name: |  |  |  |  | Company Name:
Contact Name: |  |  |  |  | Contact Name:
Service Address: |  |  |  |  | Mailing Address:
Service Town: |  |  |  |  | Mailing Town / City:
Mailing Address: |  |  |  |  | Mailing State / Zip:
Mailing Town / City: |  |  |  |  | Company Telephone:
Mailing State / Zip: |  |  |  |  | Local Telephone:
Company Telephone: |  |  |  |  | Cell Phone:
Email Address: |  |  |  |  | Email Address:
Date: |  |  |  |  | Issue Number:
Number of Employees: |  |  |  |  | Hours of Operation/Week:
Briefly describe the business and activities at this service location. What products and services do you provide?
Electrical Service Information
SERVICE TYPE |  | VOLTAGE | NUMBER OF CONDUCTORS PER PHASE | CONDUCTOR COMPOSITION | CONDUCTOR SIZE |  | MAIN DISCONNECT SIZE (AMPS) |  | NUMBER OF METERS
1-Phase |  | 120 / 240
3-Phase "Y" |  | 120 / 208
3-Phase "Y" |  | 277 / 480
Largest Motor Rating (HP): | [5 empty] | Starts Per Day:
Soft Starts Utilized?: |  |  |  | Dry-Type Transformers Utilized?:
Additional Notes:
Load Information | [7 empty] | BASED ON 1.0 PF
LOAD TYPE |  |  | PHASE (1 or 3) | CONNECTED LOAD |  |  |  | VERSANT - OFFICE USE ONLY
|  |  |  | AMPS | VOLTS | KVA |  | DIVERSITY | KVA DEMAND
Specific Write-In | [5 empty] | 0 |  | 0.6 | 0
EV Charging (Electric Vehicle) | [5 empty] | 0 |  | 1 | 0
Electric Space Heater | [5 empty] | 0 |  | 0.6 | 0
HVAC | [5 empty] | 0 |  | 0.6 | 0
Water Heating | [5 empty] | 0 |  | 0.25 | 0
Lighting | [5 empty] | 0 |  | 0.9 | 0
Industrial Process Heat | [5 empty] | 0 |  | 0.7 | 0
Motors | [5 empty] | 0 |  | 0.5 | 0
Computers | [5 empty] | 0 |  | 0.8 | 0
Refrigeration | [5 empty] | 0 |  | 0.6 | 0
Miscellaneous | [5 empty] | 0 |  | 0.2 | 0
Existing KVA Demand | [5 empty] | 0 |  | 1 | 0
TOTAL LOAD DEMAND: |  |  |  | 0 |  | 0 |  | TOTAL: | 0
VERSANT POWER - OFFICE USE ONLY
EWP: |  |  | TRANSFORMER SIZE: |  |  |  | PRIMARY FUSE SIZE:
METERING TYPE: |  | PRIMARY |  | SECONDARY | METERING INFO:
NOTES:
Aluminum | 1 | Yes | [6 empty] | Versant Power - Southern Operating Region - Bangor Hydro District - Version: 1.6
Copper | 3 | No
Clear Fields
Email Form
Note on E21: What is the conductor made of?
Note on H21: CT metered services only allowed on main disconnects below 2000 amps. 2000 amps and higher must be PT metered.
Note on A31: You may overwrite the first field with a specific load you have that is not listed below.
Note on D31: Insert a 1 or 3 to identify 1-Phase or 3-Phase Loads
Note on E32: Insert total amps
Note on F32: If 3-Phase, insert line-to-line volts, otherwise insert single phase volts.
Note on G32: = (If 3-Phase) Volts x Amps x 1.732 / 1000 OR (If 1-Phase) Volts x Amps x / 1000
Note on I32: Determined by Engineering
Note on J32: = Connected Load KVA x Diversity
Note on A33: Use this space to account for an item(s) that would not fall under any of the loads listed below.

## Hand Filled
L O A D S H E E T |  |  |  |  | Southern Operating Region (Bangor Hydro District)
Please Note: The prompt return of this properly completed form is mandatory before we will begin engineering and/or extend service. This shall be accomplished by the Contractor, Electrical Designer, and/or Customer. This information is essential during the initial stages of the service to determine the appropriate line equipment, transformer sizing, metering, and applicable rate.
Customer Information |  |  |  |  | Electrical Contractor Information
Business Name: |  |  |  |  | Company Name:
Contact Name: |  |  |  |  | Contact Name:
Service Address: |  |  |  |  | Mailing Address:
Service Town: |  |  |  |  | Mailing Town / City:
Mailing Address: |  |  |  |  | Mailing State / Zip:
Mailing Town / City: |  |  |  |  | Company Telephone:
Mailing State / Zip: |  |  |  |  | Local Telephone:
Company Telephone: |  |  |  |  | Cell Phone:
Email Address: |  |  |  |  | Email Address:
Date: |  |  |  |  | Issue Number:
Number of Employees: |  |  |  |  | Hours of Operation/Week:
Briefly describe the business and activities at this service location. What products and services do you provide?
Electrical Service Information
SERVICE TYPE |  | VOLTAGE | NUMBER OF CONDUCTORS PER PHASE | CONDUCTOR COMPOSITION | CONDUCTOR SIZE |  | MAIN DISCONNECT SIZE (AMPS) |  | NUMBER OF METERS
1-Phase |  | 120 / 240
3-Phase "Y" |  | 120 / 208
3-Phase "Y" |  | 277 / 480
Largest Motor Rating (HP): | [5 empty] | Starts Per Day:
Soft Starts Utilized?: |  |  |  | Dry-Type Transformers Utilized?:
Additional Notes:
Load Information | [7 empty] | BASED ON 1.0 PF
LOAD TYPE |  |  | PHASE (1 or 3) | CONNECTED LOAD |  |  |  | VERSANT - OFFICE USE ONLY
|  |  |  | AMPS | VOLTS | KVA |  | DIVERSITY | KVA DEMAND
Specific Write-In | [7 empty] | 0.6 | 0
EV Charging (Electric Vehicle) | [7 empty] | 1 | 0
Electric Space Heater | [7 empty] | 0.6 | 0
HVAC | [7 empty] | 0.6 | 0
Water Heating | [7 empty] | 0.25 | 0
Lighting | [7 empty] | 0.9 | 0
Industrial Process Heat | [7 empty] | 0.7 | 0
Motors | [7 empty] | 0.5 | 0
Computers | [7 empty] | 0.8 | 0
Refrigeration | [7 empty] | 0.6 | 0
Miscellaneous | [7 empty] | 0.2 | 0
Existing KVA Demand | [7 empty] | 1 | 0
TOTAL LOAD DEMAND: | [7 empty] | TOTAL: | 0
VERSANT POWER - OFFICE USE ONLY
EWP: |  |  | TRANSFORMER SIZE: |  |  |  | PRIMARY FUSE SIZE:
METERING TYPE: |  | PRIMARY |  | SECONDARY | METERING INFO:
NOTES:
Aluminum | 1 | Yes | [6 empty] | Versant Power - Southern Operating Region - Bangor Hydro District - Version: 1.6
Copper | 3 | No
Note on E21: What is the conductor made of?
Note on H21: CT metered services only allowed on main disconnects below 2000 amps. 2000 amps and higher must be PT metered.
Note on A31: You may overwrite the first field with a specific load you have that is not listed below.
Note on D31: Insert a 1 or 3 to identify 1-Phase or 3-Phase Loads
Note on E32: Insert total amps
Note on F32: If 3-Phase, insert line-to-line volts, otherwise insert single phase volts.
Note on G32: = (If 3-Phase) Volts x Amps x 1.732 / 1000 OR (If 1-Phase) Volts x Amps x / 1000
Note on I32: Determined by Engineering
Note on J32: = Connected Load KVA x Diversity
Note on A33: Use this space to account for an item(s) that would not fall under any of the loads listed below.